New England Telehealth Consortium

WAN Services & WAN Equipment

Scope Document 02

January 18, 2011

- Statement of Purpose

  - The principal purpose of New England Telehealth Consortium is to create a consortium of healthcare providers with the objective of designing and implementing a private broadband regional telehealth network with Internet2 and commodity Internet connectivity; to link regional healthcare providers with urban public practices, research institutions, academic institutions, and medical specialists to provide greater efficiency in the sharing of information relevant to healthcare applications; to provide a shared broadband network with healthcare providers thereby increasing and validating telehealth and telemedicine opportunities in the region; to provide healthcare providers in rural areas with greater and easier access to current research, advances in medicine, expert support and team consults; to allow healthcare providers in the region access to a common network for provision of electronic health records, remote medical diagnostics, telehealth, telemedicine, population health database, remote surgery, teledentistry, telepsychiatry and behavioral health treatment; and for any other purpose determined by the Board of Directors and permitted by applicable law.

  - New England Telehealth Consortium (NETC) intends to purchase a high speed broadband Wide Area Network to support healthcare applications.  The network will be IP based providing:  any to any connectivity, IPv4 with support for IPv6, support for the creation of Communities of Interest for WAN replacement, Internet2, and connections to Internet2 for Commodity Internet Tier 1 provider access.  The network will support any Layer 2 or Layer 3 transport that allows TCP/IP, although the preference is for Layer 2 services with Ethernet handoffs.

  - Functionality, reliability and scalability as well as high quality maintenance and service are critical concerns to NETC.

- Project Correspondence And Questions

  - All project correspondence and questions shall be by e-mail to:

Brian Thibeau
New England Telehealth Consortium
262 Harlow Street

Bangor, ME  04401
E-mail:  bthibeau@netelc.org

- Schedule

  - Eight (8) hard copies and One (1) electronic copy (Microsoft Word or Adobe Acrobat PDF format) of the proposal shall be received by 5pm on or before the 29th day following the posting of the RFP on the USAC website.  Proposals shall be submitted to Brian Thibeau, President, New England Telehealth Consortium, by email at bthibeau@netelc.org or by CDROM or USB Drive delivered to Brian Thibeau, President, New England Telehealth Consortium, and by mail to PO Box 1162, Bangor, ME 04402-1162 (Note, mail at Post Office Box is retrieved once each business day around 8 am in the morning) or by delivery service to 262 Harlow Street, Bangor, ME 04401. Use “NETC Network Services and Equipment Proposal” on package/envelope label or include in email subject line. New England Telehealth Consortium, 262 Harlow Street, Bangor, ME 04401 and bthibeau@netelc.org.

  - Any responses received after the stated deadline will be considered non-responsive to the RFP and will not be reviewed.

  - Installation of the selected WAN Services and WAN equipment shall start immediately after award with the goal of completion within one year.

- Instructions to Responding Vendors

  - Proposing Vendors shall use the numbering convention in this RFP when formatting their response.  The Proposing Vendor’s response shall be explained in detail and shall indicate how the Proposing Vendor proposes to satisfy each requirement where necessary.  At the very least, the Proposing Vendor must indicate compliance, non-compliance, understood or exception for each line item.

  - Proposing Vendors shall cite specific terms and conditions to which the Proposing Vendor takes exception.  The Proposing Vendor shall state the exact requirement to which exception is taken.  Any cost impact associated with an exception shall be identified and included in the proposal.

  - All proposals shall be hardcopy and also electronic and signed by the responding vendor.

  - Proposing Vendors should submit any questions, noted errors, discrepancies, ambiguities, exceptions, or deficiencies they have concerning this RFP by emailing such requests, with NETC WAN Services & WAN Equipment RFP in the subject line, to Brian Thibeau, NETC President at bthibeau@netelc.org on or before the 14th day following the posting of this RFP on the USAC website.  Answers to all questions/requests will be posted on the NETC website, www.netelc.org, on or before the 20th day following the posting of this RFP on the USAC website.  If applicable, state the section number being referenced.

  - Responding vendors shall take all responsibility for any errors or omissions in their quote or proposal.

  - No contract will be awarded except to responsible vendors capable of performing the work requested.  Proposing Vendor's employees shall be trained and qualified to perform the work and operate all required equipment.  Before the award of the Contract, any Proposing Vendor may be required to show that they have the necessary facilities, experience, ability and financial resources to perform the work in a satisfactory manner.

  - All proposals submitted shall be valid through June 30, 2011.

  - Negligence on the part of the Proposing Vendor in preparing the proposal confers no right of withdrawal after the time fixed for the receipt of the proposals.

  - All proposals shall provide a straightforward, concise delineation of the Proposing Vendor’s capabilities to satisfy the requirements of this invitation.  Emphasis should be on completeness and clarity of content.

  - NETC reserves the right to require Proposing Vendors to demonstrate a proof of concept of their offering.

  - It is the responsibility of the responding vendors to review, evaluate and request clarification prior to submittal of a proposal.

- Authorized Negotiator

  - The proposal shall be signed by the person authorized to legally bind the proposal.

  - The proposal shall designate an authorized negotiator who shall be empowered to make binding commitments.

- Responding Vendors Responsibility for Proposal Costs

  - The responding vendor shall be fully responsible for all proposal development and submittal costs.   NETC assumes no contractual or financial obligation as a result of issuance of this RFP.

- Compliance with Laws, Permits, Rules

  - The successful vendor shall comply with all rules, regulations, ordinances, codes and laws relating to the work or the conduct thereof and shall secure and pay for any permits and licenses necessary for the execution of the work.

  - The successful vendor shall be subject to the safety department’s workplace rules at a given site.

- Insurance

  - The successful vendor shall agree to maintain General Liability Insurance, Worker’s Compensation and Employer’s Liability Insurance, where applicable, to cover all its personnel engaged in the performance of the services herein described as well as damages arising as a result of the performance of such services.  Proposing Vendor further agrees to require its subcontractor(s), if any, to maintain General Liability Insurance, Worker's Compensation and Employer's Liability Insurance, where applicable.  The amounts of such coverage shall be as reasonably determined by Proposing Vendor.

  - Proof of policies shall be provided to NETC with proposal.

- Performance Bond

  - It is important to NETC that the selected vendor(s) provides continuous service for the duration of the contract.  A performance bond may be required.  Proposing Vendor shall procure a performance bond that ensures vendor performance for 10 years or the duration of the negotiated contract, and indicate any additional applicable costs to NETC that would be incurred as a result of this performance bond.

- Network Design

  - NETC has designed an IP based network that will provide: any to any connectivity, a design based on IPv4 with support for IPv6, support for the creation of Communities of Interest for WAN replacement, support for BGP peering, Internet2 and connections to Internet2 for Commodity Internet Tier 1 provider access.  The NETC network will support any Layer 2 or Layer 3 transport that allows TCP/IP, although our preference is to obtain Layer 2 services from one or more carriers with Ethernet handoffs.  Segments can be provisioned with dark fiber.  NETC will obtain and utilize public IPv4 address space for the network backbone, transport links, and participant allocation.  The NETC network will be a broadband network consisting of two core nodes residing in data centers in Bangor, Maine and Lebanon, NH with redundant one-Gigabit (1Gb) connections between them.  Each of the two core nodes will have a minimum 1Gb connection to Northern Crossroads (NOX) for Internet2 and Commodity Internet connectivity.  The core NETC network will not provide encryption services, instead, each participating site will provide their own encryption mechanism.

  - The following table lists the applications that will be used on the NETC network, including the percentage of sites using the application.

| Application | % Sites |
| --- | --- |
| Accounting | 37.47% |
| Centralized Nurse Call | 24.52% |
| Communications Portal | 33.33% |
| Digital Messaging | 39.39% |
| Electronic Health Records | 86.50% |
| Email | 50.96% |
| Faxing Automation | 30.03% |
| Imaging(PACS, Scanned Docs) | 63.64% |
| Medical Info Displays | 25.34% |
| Office Automation | 28.65% |
| Patient Kiosk Registration | 27.27% |
| Patient/Asset/Staff Tracking | 26.72% |
| Practice Management | 49.86% |
| Remote Critical Care Monitor | 27.00% |
| Remote Med Specialist Diag | 32.78% |
| Remote Rx Disp & Verification | 36.64% |
| Telemedicine | 63.91% |
| Video Conferencing | 75.48% |
| Voice | 57.85% |

  - The following graph shows the application usage by NETC site.

  - In order for the NETC network to meet its desired goals of enabling advanced collaboration and communications capabilities among the healthcare facilities of Northern New England, the network infrastructure must be designed to be highly available.  The target for high availability is 99.999% uptime, which means only 5 minutes of downtime permitted per year.  While this goal may not be reachable, based upon the highly-outsourced nature (i.e. lack of direct control of facilities), it’s the benchmark we should strive to reach.  This is also the benchmark that service providers must meet in their SLAs.

  - The following diagram shows the structure of the NETC network.

  - Communities of Interest

    - The structure of the NETC network will be that of a large TCP/IP based cloud, where all participants can communicate with each other, as well as with Commodity Internet and Internet2 sites through upstream providers.

    - Within the NETC network design and this document, Communities of Interest are referred to interchangeably as private WAN emulation, Community of Interest, WAN replacement, and IP VPN.

    - The Communities of Interest will tie individual sites together into a private group, whereby all communication to and from sites in the group will be private.

    - It’s been established through the design process that many (92.68%) of the NETC participant organizations want to use the NETC network to replace their current wide area network (WAN).  To support this functionality, and create these “Communities of Interest”, NETC will need to employ some form of tunneling or IP VPN.

  - WAN Replacement (Virtual Networks)

    - We know that we will utilize some type of Layer 2 VLAN or IP Tunneling mechanism to facilitate the virtual networks necessary for the WAN Replacement service.  While NETC could make a choice that would work across all transports, providers, etc., it is in NETC’s best interest to wait until selected Service Providers have provided their proposed offerings before choosing a methodology.  We don’t want to preclude ourselves from selecting the best technology available.

    - Fortunately, many of the techniques NETC is likely to choose operate similarly, and have similar requirements.  One of these requirements is the implementation of an IGP for reachability within each emulated WAN.  This will provide participants with visibility into the state of their tunnel endpoints, and will simplify deployment and support of the tunneling environment.  For these services to work properly, we will need to choose an IGP that meets the following requirements:

      - Support Non-Broadcast Multi-Access medium

      - Support dozens of prefixes

      - Support dozens of neighbors

      - Support use of hold down timers

  - WAN Replacement Service Design

    - The following diagram provides a high-level view of the anticipated logical Community of Interest architecture.

    - The NETC network will likely consist of more than one transport provider, and is likely to consist of many different technologies (i.e. T1, metro Ethernet, private fiber, MPLS, etc.).  This presents a somewhat challenging problem.  We need to provide a mechanism to create this emulated private WAN service with functionality similar to RFC 2547 (MPLS VPNs), with neither control nor specific knowledge of the underlying Layer 1 and 2 technology being employed.  There are several ways to accomplish this, but most involve some form of IP-based virtual networking (IP VPN).  One key point to understand is that while we may call this service IP VPN, NETC is not providing any form of encryption.  The emulated private WAN service will be logically private and separate, but will ride on the same underlying IP transport as all other traffic on the NETC WAN.  For safety’s sake, NETC participants should consider this private WAN service to be untrusted, and as such we recommend that it be firewalled from their internal networks.  The private WAN will however, utilize private address space that is unique to the individual organization.  Since this traffic will be tunneled through the NETC cloud, the address space for each organization need not be globally unique.

    - The following diagram provides a Community of Interest example with sample addressing.

    - NETC will offer the ability for participant organizations to choose which services will be offered at each site.  Many organizations have stated an interest in creating a virtual hub and spoke WAN so that branch web traffic can be filtered at their main office.  Therefore, the NETC network design will incorporate the ability to provide private WAN traffic on a separate physical interface from the open NETC transport that organizations will use to communicate with other participants and the outside world.

    - The following logical connection diagram depicts Internet traffic flow in a Community of Interest that has a central firewall at a hub site.

  - Architecture Overview

    - Refer to the diagram in section 10.5 for the structure of the NETC network.

    - The NETC network is designed to be a TCP/IP based network providing any to any connectivity between participants for the purposes of collaboration, communication, and data sharing.  The logical topology will be that of dual hub and spoke networks (with allowances for spoke to spoke traffic flow), where the hubs are interconnected redundantly.  The selection of this design is due to the fact that NETC is not a facilities-based provider.  Therefore, the network will be built using services from broadband providers, LECs, etc.  Our desire is to obtain high-speed dedicated (private fiber, point to point Layer 2 circuit, etc.) connectivity from each participant site directly back to one of the NETC core locations over un-shared optical transport, but the practical reality is that NETC may need to obtain services transported over a carrier’s shared TCP/IP backbone (MPLS, Metro Ethernet, pseudowire/VPLS, etc.).   Knowing that the network will be built in this fashion forces us to design a network that is transport agnostic.  We have to plan for any combination of radio (microwave, satellite, 3G), MPLS, private line, Metro Ethernet, etc.

    - While the logical topology will be hub and spoke, with allowances for direct spoke to spoke traffic, the physical reality may be very different.  Each service provider will essentially be responsible for aggregating their traffic and handing off their sites to one of the NETC core locations.  We expect that the physical network topology will vary dramatically by provider and service region.  For instance, in the circumstance where some number of sites are connected to the NETC core via an MPLS provider, NETC could have these sites configured in a single MPLS L3 VPN providing meshed site to site connectivity through the service provider’s network without forcing traffic to traverse a NETC core router.  Unfortunately, MPLS will cost NETC the ability to natively utilize IPv6 and IP Multicast which are requirements of the NETC design.

- NETC Location and Bandwidth Information

  - NETC has posted detailed site information about each site on the form 465 attachment which can be found on the USAC web site.

  - An alphabetical list of NETC participating sites along with site addresses, the minimum bandwidth requested and the optimal bandwidth requested is in Appendix A.

  - Responding service provider shall propose pricing for both the minimum requested bandwidth and the optimal requested bandwidth.

- WAN Services for NETC Site Connectivity

  - NETC desires to obtain dedicated facilities from participant sites to its two core locations in Bangor, Maine and Lebanon, NH.  Our intention is that a service provider would network together a group of NETC sites and connect them to the two NETC core locations via two aggregate handoffs.  Proposing Vendors shall provide a full description of the offering with current network diagrams.

  - Handoffs to NETC Core:

    - All handoffs shall be a minimum of 1Gb.  Service providers shall provide as many gigabit handoffs as needed to supply oversubscription requirements. (Sites receiving bonded T1 service will be aggregated by the service provider and handed to NETC via Gigabit Ethernet, and separated using VLANs).

      - Vendors shall price the following:

        - One to One (no oversubscription)

        - Two to One Oversubscription

        - Three to One Oversubscription

        - Four to One Oversubscription

    - Service providers shall not oversubscribe bandwidth between participant sites and the NETC core.  The total bandwidth of each handoff to the NETC core shall be equal to or greater than the aggregate bandwidth that a service provider provisions (for example, no more than ten 100Mbps participant sites may be trunked to NETC on a single Gigabit Ethernet connection).

    - Service Providers must support Ethernet QinQ VLAN trunking on all connections to NETC core locations.

    - NETC desires that each service provider deliver all of their participant sites via handoffs to each of NETC’s two core locations.

    - There may be up to 3 VLANs per participant site.

    - Each service provider must provide a VLAN on each NETC core connection to be used for NETC core to core traffic.  The following diagram shows how NETC could use these VLANs.

    - All core connections must support jumbo Ethernet frames.

  - Handoff to NETC CPE at NETC Participant Sites:

    - 10/100/1000BaseTX Ethernet as appropriate based upon site requirements.

    - Service providers must support Ethernet 802.1Q VLAN trunking, and expect at least 2 VLANs for most sites.

    - All connections at 100Mbps or greater must support jumbo Ethernet frames.

  - Quality of Service:

    - It is required that all site connections will be carried over non-blocking backhaul to the NETC core locations at the provisioned rate.

    - If a service provider provides options for non-dedicated bandwidth, they must describe their support for priority queuing, and meet NETC QoS specifications.

    - Service providers must support and honor Ethernet Class of Service, and pass-through Layer 3 DSCP values.

    - Service providers must support the following quality of service metrics between any two sites connected to their network:

      - Latency – No more than 20ms between any participant site and a NETC core site.  No more than 20ms between any two participant sites connected to their network.

      - Packet Loss – No more than 0.25% packet loss between any participant site and a NETC core site.  No more than 0.25% packet loss between any two participant sites connected to their network.

      - Jitter – No more than 15ms of jitter between any participant site and a NETC core site.  No more than 15ms of jitter between any two participant sites connected to their network.

    - While not our preferred choice, any Layer 3-based service offering must honor NETC Layer-3 DSCP values.

    - OSI Layer 2 Class of Service and Layer 3 Type of Service (and DSCP) markings must be preserved across the service provider network.

    - Service providers must be able to automatically and quickly re-route traffic on a path failure.  Service provider shall describe how this functionality is implemented.

    - Service Providers must provide published reliability statistics for the most recent twelve months indicating that their network maintains a 99.999% uptime.

  - NETC Core Locations

    - We have prequalified two NETC core locations in Bangor, ME and Lebanon, NH.

      - NETC Data Center, 60 Summer Street, Bangor, ME 04401

      - Dartmouth Regional Technology Center, 16 Cavendish Street, Lebanon, NH 03766

    - The core locations should be central in a region, have numerous fiber transports in or through the city, and have fiber connectivity that is non-discriminatory and will allow competing carriers to connect with their own fiber, rented dark fiber, or lit services.

    - Each service provider is required to connect to each of NETC’s core site locations.  This will allow for re-routing between core locations in the case of failures or scheduled equipment maintenance.  The diagram in section 12.2.6 shows the logical network architecture with two core locations and full redundancy.

    - The following items will be available for purchase at the prequalified core locations:

      - Full rack space

      - Power

      - UPS

      - Generator

      - Fire suppression

      - Air conditioning

      - Unrestricted Personnel Access

      - Fiber Transport

        - Lit

        - Dark

    - Other core locations in the Bangor, ME area and Lebanon, NH / White River Junction, VT area will be considered.  Please provide data center specifications and pricing.  Other proposed core locations must meet the requirements listed in 12.5.4.

  - Reliability

    - All service providers must provide published network reliability statistics for the most recent 12 months.

    - All service providers must be able to demonstrate a history of 99.999% core network uptime.

- WAN Services for NETC core to core connectivity

  - Handoffs from a service provider to the NETC core shall be Gigabit Ethernet.

  - Service Providers must support Ethernet QinQ VLAN trunking on connections to NETC core locations.

  - All core connections must support jumbo Ethernet frames.

  - Service providers shall use two diverse paths to connect each core site.

  - Quality of Service:

    - Service providers must support and honor Ethernet Class of Service, and pass-through Layer 3 DSCP values.

    - Service providers must support the following quality of service metrics between NETC core sites:

      - Latency – No more than 20ms between NETC core sites.

      - Packet Loss – No more than 0.25% packet loss between NETC core sites.

      - Jitter – No more than 15ms of jitter between NETC core sites.

    - OSI Layer 2 Class of Service and Layer 3 Type of Service (and DSCP) markings must be preserved.

  - Proposing Vendor shall price the following:

    - Two (2) – 1 Gb links

    - Two (2) – 2 Gb links

    - Two (2) – 5 Gb links

    - Two (2) – 10 Gb links

- WAN Services Transport from Core sites to NOX/Internet2

  - Handoffs shall be Gigabit Ethernet.

  - Service Providers must support Ethernet QinQ VLAN trunking on all connections to NETC core locations.

  - All core connections must support jumbo Ethernet frames.

  - Proposing Vendors shall use 2 diverse paths.

    - Bangor, ME to 1 Summer Street, Boston, MA

    - Lebanon, NH to 300 Bent Street, Cambridge, MA

  - Quality of Service:

    - Service providers must support and honor Ethernet Class of Service, and pass-through Layer 3 DSCP values.

    - Service providers must support the following quality of service metrics between the NETC core and NOX/Internet2:

      - Latency – No more than 20ms.

      - Packet Loss – No more than 0.25% packet loss.

      - Jitter – No more than 15ms of jitter.

    - OSI Layer 2 Class of Service and Layer 3 Type of Service (and DSCP) markings must be preserved.

  - Proposing Vendor shall price the following:

    - Two (2) – 1 Gb links

    - Two (2) – 2 Gb links

    - Two (2) – 5 Gb links

    - Two (2) – 10 Gb links

- Internet2

  - NETC will connect to Internet2 through the designated northeast Internet2 connector, Northern Crossroads (NOX) in Boston via two 1 Gb connections.

  - NETC will have one 1 Gb connection from each core location to NOX in Boston and Cambridge.

  - Since NETC is a new network and Internet2 will be a new service to NETC participants, we are unable to determine the Internet2 bandwidth that the NETC network will require.  Internet2 and NOX shall provide prices for the following Internet2 bandwidths:

    - 25Mb

    - 50Mb

    - 100Mb

    - 500Mb

    - 1 Gb

    - 2 Gb

- Commodity Internet

  - NETC will automatically have the ability to peer with Internet2’s Commercial Peering Service (CPS) as part of its NOX/Internet2 connection.  This will provide the ability to route to approximately half of Commodity Internet utilizing the Internet2 backbone.  In order to provide the level of Commodity Internet needed by its participants, along with the redundancy requirements, NETC will need to obtain connections with at least two Commodity Internet providers.  This can be easily and cheaply done at the Northern Crossroads (NOX) facilities in Boston, MA and Cambridge, MA, utilizing the same physical connection as Internet2.  However, we will be using two connections to NOX for upstream connectivity.

  - NETC would like to purchase Commodity Internet services from providers at the following NOX addresses:

    - NOX, 1 Summer Street, Boston, MA

    - NOX, 300 Bent Street, Cambridge, MA

  - Price the following Commodity Internet services:

    - 500Mb

    - 1 Gb

    - 2 Gb

    - 5 Gb

    - 10 Gb

- Wireless Services

  - The following sites require wireless services:

    - MSCM – Sunbeam Mobile Ship Clinic, Bar Harbor, ME

    - MMHP – Mobile Clinic 1, Fryeburg, ME

    - MMHP – Mobile Clinic 2, Cherryfield, ME

    - MMHP – Mobile Clinic 3, Oquossuc, ME

    - NOTCH Dental Clinic at MVU, Swanton, VT

    - Connection to NETC Core Sites:  Bangor ME and Lebanon, NH

    - Each mobile clinic requires 1.5 Mbps

  - Proposing Vendors shall propose the following two wireless technologies

    - 3G/EVDO

      - A data connection from a mobile clinic to the NETC network using 3G/EVDO technology provides a usable connection for video conferencing and transmission of data (i.e. EMR).  The 3G/EVDO connection will support the following application specifications:

        - Telemed - Hi def

        - Maximum file size:  15MB

        - VideoConferencing at 30 frames per second

        - Support for SIP

        - Support for VoIP

        - Applications include: Video Conf, Rx dispensing, voice calls, EHR from referral providers, view digital images from a fixed hospital.  Telemedicine, digital messages (text, cell, Outlook, email)

      - Proposing Vendor shall provide a direct connection to the NETC core site.

      - 30 GB to 50 GB of monthly usage is required for each mobile clinic

      - Support for the TCP/IP Protocol

      - Support for Site Bandwidth of 1.5Mb full duplex

      - Proposing Vendor shall price a mobile antenna with the following characteristics:

        - Truck mounted or on a trailer

        - The antenna shall be approximately 50 to 60 feet in height, and pick up frequencies at 800/850MHz and 1900MHz

        - Viable alternatives to utilizing a 50’ to 60’ antenna will be considered.

    - Satellite

      - A data connection from a mobile clinic to the NETC network using satellite technology provides a usable connection for video conferencing and transmission of data (i.e. EMR).  The satellite connection will support the following application specifications:

        - Telemed - Hi def

        - Maximum file size:  15MB

        - VideoConferencing at 30 frames per second

        - Support for SIP

        - Support for VoIP

        - Applications include: Video Conf, Rx dispensing, voice calls, EHR from referral providers, view digital images from a fixed hospital.  Telemedicine, digital messages (text, cell, Outlook, email)

      - Support for the TCP/IP Protocol

      - Support for Site Bandwidth of 1.5Mb full duplex

      - Simultaneous aggregate bandwidth for all sites:  3Mbps (estimated)

      - Number of users per site: 2

      - Number of devices per site: 2

      - QoS Priority: Required

      - Proposing Vendor shall provide one of the following Base Station Connectivity options:

        - A WAN connection between a satellite base station (i.e. Georgia, Nevada, Illinois, etc.) and the NETC core site

        - A remote terminal on the roof of the NETC core site

      - Constant bit rate connectivity

      - Remote Terminal shall be retractable, auto synchronizing units on the roof of the vehicle

  - Wireless QoS Expectations

    - Service providers must support and honor Ethernet Class of Service, and pass-through Layer 3 DSCP values.

    - Service providers must support the following quality of service metrics between the NETC core and NOX/Internet2:

      - Latency – No more than 20ms.

      - Packet Loss – No more than 0.25% packet loss.

      - Jitter – No more than 15ms of jitter.

    - OSI Layer 2 Class of Service and Layer 3 Type of Service (and DSCP) markings must be preserved.

- WAN Equipment

  - Requirements common to all devices:

    - Hardware-based TCP/IP routing (V4 and V6)

    - Dynamic routing protocol support (minimum OSPF and BGPv4)

    - Multicast routing support (i.e. PIM)

    - Generic Route Encapsulation (GRE) tunnel support

    - Multipoint GRE support (optional)

    - One or more of the following segmentation techniques:

      - MPLS L3 VPN (RFC2547)

      - VPLS (RFC4761 and RFC4762 pseudowire Ethernet)

      - 802.1Q VLANs

    - PPP Encapsulation

    - Multilink PPP Bonding

    - Bridge Control Protocol (BCP) support

    - Support classification and marking of traffic using DSCP, IP Precedence (ToS), and Layer 2 Class of Service (CoS) fields of inbound and outbound packets.

    - Support Layer 2 interface queuing, with class-based prioritization.

    - Must support hierarchical (nested) QoS policies.

    - Must support rate-limiting at the interface and traffic class levels.

    - Must support traffic prioritization, queuing, and policing based upon class markings.

    - Secure Shell v2 support (encryption for administrative sessions)

    - AAA infrastructure support (radius or TACACS)

    - Public Key Infrastructure (digital certificate) support

  - Details specific to each class of device:

    - Edge - Small

      - Throughput up to 10Mbps

      - Three 10/100 BaseT interfaces

      - Provide pricing for optional redundant power supply

      - Provide pricing for 238 devices

    - Edge  - Medium

      - Throughput up to 45Mbps

      - Three 10/100 BaseT interfaces

      - Provide pricing for optional redundant power supply

      - Provide pricing for 41 devices

    - Edge  - Large

      - Throughput up to 1000Mbps

      - Three 10/100/1000 BaseT interfaces

      - Provide pricing for optional redundant power supply

      - Provide pricing for 192 devices

    - Core

      - Proposing Vendor shall propose equipment for both NETC Core locations.

      - Throughput up to 200Gb

      - Must have resources appropriate to support dozens of BGP peers and full Commodity Internet and Internet2 routing tables

      - Hardware-based Generic Route Encapsulation (GRE) tunnel support for up to 500 tunnels

      - QinQ Support (encapsulation of 802.1Q trunks over service provider transport)

      - Redundant processors supporting stateful failover

      - Redundant power supplies

      - Redundant backplane/switch fabric

      - Minimum of 96 1000BaseT interfaces which support multiple hardware queues including a strict priority queue

      - Interfaces must be spread across a minimum of 2 Line cards

      - Must support the ability to customize for random dropping of TCP packets (i.e.Weighted Random Early Discard) to avoid TCP synchronization issues.

      - Must support non-stop forwarding to ensure IP traffic flow continues in the event of a route processor failure.

      - Must support the ability to perform non-disruptive firmware upgrades/updates.

- Dark Fiber Alternative

  - There is an interesting alternative to obtaining services from existing WAN providers in a large part of the NETC footprint.  There are multiple optical fiber providers who would like to provide dark fiber to NETC at very attractive prices in part due to the influx of federal funds via the American Recovery and Reinvestment Act.  This pricing is compelling enough that we feel it’s appropriate to explore this option.  In order to explore this option, NETC must allow optical equipment providers to present optical transport proposals that do not conform to our stated design requirements.

  - There are two primary classes of technologies that we recommend in order to utilize a dark fiber network:  Dense Wavelength Division Multiplexing (DWDM) and Carrier Ethernet.  They both play a part in large service provider networks, but either could be utilized to provide transport between NETC participant sites, and the NETC core.

  - Optical equipment vendors shall provide pricing to support connectivity to all NETC participant sites as part of their design and proposal.  The optical transport networks will need to backhaul traffic to the two identified NETC Core Locations.

    - Optical DWDM Specifications:

      - Backbone rings should consist of 10Gb lambdas.

      - Optical nodes should be designed and placed appropriately to minimize fiber strand requirements.

      - Site to NETC core virtual circuits should be engineered and provisioned for dedicated bandwidth.

      - Support for add-drop multiplexing should be provided at each participant site to support handoff.

      - Site connections will be a 1Gb Ethernet handoff.

      - Provide the ability to engineer paths for WAN Replacement Communities of Interest.

    - Carrier Ethernet Specifications:

      - Backbone links will be 10Gb Ethernet.

      - Optical nodes should be designed and placed appropriately to minimize fiber strand requirements.

      - Solution must be based upon open standards.

      - Site connections will range from 10Mb to 1Gb Ethernet.

      - Solution should support standard 802.1Q trunking, QinQ trunking, and/or compliance with MEF version 9 and 14.

      - Support multipoint traffic to facilitate Layer 2 Communities of Interest.

      - Provide support for industry-standard Ethernet OAM&P (802.1ag) features.

      - Support both ring and hub and spoke topologies.

  - Dark Fiber Service Providers shall connect dark fiber to all sites and to both NETC core locations and connections to NoX.

- Miscellaneous Fees

  - Proposing Vendor shall state the Universal Service Fund fee or percentage if applicable.  If applicable, Proposing Vendor shall define the charge and describe how it is calculated.

  - Proposing Vendor shall describe any other fees that may apply.

- Billing

  - Proposing Vendor shall bill using the following format:

    - Site Bill

    - Billing Entity Bill (grouping of sites)

    - NETC Bill (all sites grouped by billing entity)

  - Paper bill and electronic bill.

  - Web-based account management.

- Maintenance and Support Specifications

  - One year maintenance shall be included for all hardware and software for all equipment supplied.

  - Proposing Vendor shall be a Manufacturers Authorized Representative.

  - Proposing Vendor shall provide response by a technician who is technically certified for the proposed network equipment as follows.

    - Proposing Vendor shall provide a 24 x 7 call window.

    - Proposing Vendor shall provide a one (1) hour call back response.

    - Proposing Vendor shall provide a two (2) hour remote diagnostic dial in response.

    - Proposing Vendor shall provide a four (4) hour on-site response for critical failures.

    - Proposing Vendor shall provide next day on-site response for non-critical failures.

    - Proposing Vendor shall complete a hardware repair within a maximum one business day window.

  - Proposing Vendor shall provide prices for:

    - 8 to 5, M – F  response

    - 24 x 7, 365 day response

  - Proposing Vendor shall provide highly secure remote access for remote programming and diagnostics.

  - Proposing Vendor shall furnish a chart which shows the escalation procedures to be followed to resolve problems.

  - Proposing Vendor shall list the type and frequency of preventative maintenance procedures that will be provided under warranty and included in the Proposing Vendor’s maintenance contract.

  - Proposing Vendor shall itemize estimated annual hardware and software maintenance costs.

  - Proposing Vendor shall provide a mechanism for reporting bugs and enhancement requests.

  - Proposing Vendor shall provide a detailed description of all hardware and software including firmware, OS level, board revision levels, driver versions, etc.

  - Proposing Vendor will provide a response to the following:

    - Where are Technicians dispatched from.

    - Number of Technicians certified for proposed network equipment.

    - Description of RMAT capabilities, facilities and staffing.

    - Description of RMAT staff, level of training and certification.

    - Availability of parts covered under maintenance contract.

    - Inventory, on hand, of parts covered under maintenance contract.

  - Proposing Vendor shall provide prices for two hour and four hour on-site response time by a technician who is technically certified for the proposed network equipment.

  - Proposing Vendor shall specify the cost differential to have redundancy in the major components of the proposed network equipment.

  - Proposing Vendor shall provide backup capability for all data, scripts, etc.

- Maintenance Agreement

  - The Proposing Vendor’s Maintenance Agreement must cover the following: Analyzing and locating the trouble once contacted by the customer, correcting the problem and providing onsite support and assistance from the initial trouble report until the trouble is clear.

  - Each proposal shall include a copy of the maintenance contract that the customer would sign. NETC retains the right to sign the Maintenance agreement any time prior to the expiration of the Warranty.

  - Proposing Vendor shall quote a price for maintenance in Years 2 through 5 and 6 through 10, including any discounts for multi – year agreements.

  - Increases for maintenance prices in Years 2 through 10 shall not increase beyond the consumer price index for inflation.

- Hands on Training

  - Proposing Vendor shall list the description, availability, cost and location of technical, administration, and support training that is offered on their product or service.

- Warranty

  - Proposing Vendor shall warranty all purchased WAN equipment (parts, software upgrades and labor) for a one year period following NETC’s final acceptance of the proposed network equipment.

- General Requirements

  - Proposing Vendor shall provide a written project management and implementation plan.

  - Proposing Vendor must include a timeline for project completion.  NETC desires that the network build out be completed within 12 months of receipt of the USAC funding commitment letter.   Proposing Vendor shall delineate how many calendar days the project will take to complete and provide a GANTT, PERT or similar chart of project times and milestones.

  - NETC shall coordinate the network equipment and services installation and schedule.

    - Proposing Vendor shall accommodate the NETC prescribed installation schedule.

    - Proposing equipment vendor shall provide onsite personnel for installation of all equipment.

    - Proposing network services vendor shall provide onsite personnel for installation of all network services.

  - Testing of the Installed network equipment.  The installed WAN equipment shall demonstrate the capability of providing the services enumerated in this RFP.  Test equipment required for demonstration will be vendor provided.  Proposing Vendor will also provide documented test results.

  - Testing of the Installed network services.  The installed WAN services shall demonstrate the capability of providing the services enumerated in this RFP.  Test equipment required for demonstration will be vendor provided.  Proposing Vendor will also provide documented test results.

  - Based on the required interaction process with the FCC and USAC, it is not possible to determine a definitive project start date – as it is dependent on approvals and posting where NETC has limited control.

  - Each Proposing Vendor must clearly and specifically state their understanding of and adherence to the FCC/USAC Rural Healthcare Pilot Program payment procedures which allows for reimbursement only for incurred costs.  Reimbursement for network services and network equipment must comply with RHCPP procedures (i.e., 15% invoiced to individual site first; 85% billed to USAC following vendor receipt of 15% payment from site).  Initial payments are contingent upon delivery of service.

  - Each Proposing Vendor must name the project manager and the personnel/key staff that Proposing Vendor will assign to the project team along with a description of their qualifications.

  - Each Proposing Vendor must provide at least three professional references from similar or larger-scale projects including: contact name, mailing address, phone number, and email address.

  - NETC reserves the right to seek clarification of each Proposal or to make an award without further discussion of the Proposals received.  Therefore, it is important that each Proposal be organized and submitted in a clear and complete manner.

  - Each Proposing Vendor must have a current FCC Registration Number (FRN). More information about obtaining an FRN can be found at https://fjallfoss.fcc.gov/coresWeb/publicHome.do.

  - Each Proposing Vendor must have a current USAC Service Provider Identification Number (SPIN). More information about obtaining an SPIN can be found at http://www.usac.org/rhc-pilotprogram/vendors/step01/service-provider-id.aspx.

  - Responses to this RFP are due by 5 pm on or before the 29th day following the posting of this RFP on the USAC website.  Any responses received after the stated deadline will be considered non-responsive to the RFP and will not be reviewed.

  - All materials submitted in response to the RFP become the property of NETC. If there is any concern about confidentiality, mark the appropriate pages of your response “Confidential.” NETC will attempt to honor all reasonable requests for vendor confidentiality.

  - Proposing Vendor’s Proposal will become part of the final contract. The Proposing Vendor will be bound to perform according to the terms of this RFP and their Proposal. Any contract issued as a result of this RFP shall be construed according to the laws of the State of Maine. Additionally, the Proposing Vendor shall comply with all local, state, and federal laws and regulations related to the performance of the contract to the extent that the same may be applicable.

  - A Proposal may be rejected in whole or in part if it limits or modifies any terms and conditions and/or specifications of this RFP.

  - By responding, the Proposing Vendor states that the Proposal is not made in connection with any competing Proposing Vendor submitting a separate response to the RFP and is, in all aspects, fair and without collusion or fraud.

  - Any and all information provided to vendors by NETC or its sites, is considered to be proprietary information and must be used solely for the purpose of preparing the proposal and is not to be released outside the Proposing Vendor organization without written permission from NETC or its sites.

  - Proposing Vendor shall describe their experience working with the FCC Rural Healthcare USF program and process.

- Evaluation and Selection Criteria

  - NETC will select the most cost effective vendor per USAC requirements.  Each Proposing Vendor is encouraged to provide detailed responses to demonstrate its experience and expertise in providing WAN services and WAN equipment for a large scale private network.  NETC will evaluate proposals and select vendors based on: a Proposing Vendor Evaluation, a Proposal Evaluation and a Technical Evaluation.  The selection will be based on all factors listed and may not go to the lowest price proposal if price is outweighed by a combination of other features and factors in the winning Proposing Vendor's proposal.

  - NETC reserves the right to select proposals which, in the sole judgment of NETC, most nearly conforms to the specifications set forth herein, will best serve the needs of NETC and its participants, and provides the most cost-effective means for producing those results.

  - NETC is not obligated to accept or select any proposal received in response to this RFP.  In particular, NETC may select proposals in whole or in part, or it may reject all proposals received.

  - Changes in applicable laws and rules may affect the award process or any resulting contracts. Proposing Vendors are responsible for determining legal requirements and restrictions that may apply. Proposing Vendors are encouraged to visit the official Federal websites pertaining to the Rural Healthcare Pilot Project http://www.fcc.gov/cgb/rural/rhcp.html.

  - The selection decisions made by NETC and reported to USAC under this RFP are final, and appeals or re-submissions will not be considered.

  - NETC will evaluate proposals and select vendors based on the following:

    - Proposing vendor’s experience and expertise.

    - Competitive Price.

    - Experience with the FCC Rural Healthcare USF program and process and commitment to comply with the FCC Rural Healthcare Pilot Program rules and process.

    - Quality of the vendor’s proposal.

    - Technical Evaluation of the vendor’s proposal.

    - Compliance with the price model and service level agreements.

- Pricing

  - NETC price model goals and requirements for Network Services

    - NETC desires to purchase and provision a network that will be sustainable for 10 years, with very competitive rates for the 10 year sustainability period.  These very competitive rates will make the network affordable and provide participating entities with affordable 10 year network costs.

    - Network services will primarily be leased over a 10 year period.   NETC along with each site will enter into a 10 year contract for network services.  Proposing Vendors providing network services will be required to secure performance bonds guaranteeing that the service purchased will be in place for the duration of the 10 year contract.

    - NETC desires that pricing be postalized and based on bandwidth and not on the geographic location of a NETC site.

    - NETC desires that responding vendors separate network services pricing into a non-recurring component and a recurring component.   The non-recurring component would be paid in full up front or paid monthly starting in month 1 and continuing through month 24.  The recurring component would be paid monthly starting in month 25 and continuing through month 120.

    - Proposing Vendor agrees that the non-recurring component will be paid with NETC’s RHCPP 85% cost reimbursement money, in addition to eligible sites 15% contribution.   The recurring component will be paid by each NETC site without any RHCPP reimbursement. Ineligible sites will pay their fair share.

    - For network services, NETC desires to have the ability to exercise one of the following options at the end of year 4 and year 7.

      - Terminate the contract without any penalty or termination liability so that NETC can pursue new network technologies and/or additional subsidies at lower costs.

        - ARRA funded fiber optic networks

        - USF Rural Healthcare Program funding through required competitive bid process

      - Renegotiate the contract pricing for remaining term.

      - Continue to pay the same recurring component pricing for remaining term.

    - Within the one year installation, NETC desires that each of the billing entities select a contract start date tied to when their sites are implemented.

    - There currently is an extensive build out of fiber optic communications cable in Maine, New Hampshire and Vermont due to the expenditure of ARRA funds.   This fiber optic communications cable will allow carriers to lower the transport and network costs associated with building a network for NETC.  However, most of the ARRA funded projects will not be complete until 2013, well after NETC selects and implements their network.  ARRA funded projects have announced prices as low as $9.00 per strand mile per month.  Therefore, in an effort for NETC to financially benefit from this build out of fiber optic communications cable in Maine, New Hampshire and Vermont with federal ARRA money, NETC will require one of the following obligations be incorporated into network service proposals to NETC.

      - The network service provider includes a clause in NETC’s 10 year services contract that commits the Proposing Vendor to lower the cost of the NETC services network when and if they migrate to ARRA installed fiber optic cable that reduces their transport costs.   In other words, if a service provider lowers their costs due to the use of federally provided fiber optic cable, the Proposing Vendor will pass those savings along to NETC.

      - The network service provider when proposing their services to NETC provides lower prices and/or additional discounts to NETC based on the service providers’ projections of lower transport costs due to their migration to ARRA funded fiber optic cable.

    - Payments are contingent upon delivery of a service.

    - Ineligible sites will pay their fair share.

    - For NETC sites that are ineligible for the RHCPP reimbursement, NETC desires that the non-recurring component for ineligible sites be spread over a term of years.  Options for the term include:

      - Three years

      - Five years

      - Seven years

      - Ten years

  - NETC price model goals and requirements for Network Equipment

    - NETC desires that installation prices be waived or set at a very low price.

    - Equipment will be purchased as implemented.

    - Payments are contingent upon delivery of equipment.

    - NETC sites will purchase network edge equipment with NETC’s RHCPP 85% cost reimbursement money, in addition to eligible sites 15% contribution.

    - Ineligible sites will pay their fair share.

    - NETC will purchase network core equipment with NETC’s RHCPP 85% cost reimbursement money, in addition to eligible sites 15% contribution.  Ineligible sites will pay their fair share.

    - Proposing Vendor shall provide prices for hardware and software maintenance contracts with the following term options.

      - One year

      - Three year

      - Five year

      - Ten year

    - Proposing Vendor shall provide prices for equipment support contracts with the following term options.

      - One year

      - Three year

      - Five year

      - Ten year

  - Cost to complete all aspects of the network services or network equipment as outlined in this RFP must be clearly stated in the proposal, must include all costs including travel and out of pocket costs, and the cost quoted must be specified as either a “fixed” or “not to exceed” price.

  - Costs should be categorized in broad categories to allow evaluation of cost elements.

  - Service Level Agreements (SLA) will be required.  The SLAs will be based on QoS requirements listed in Section 12.4.  Penalties will be negotiated with selected vendors.

  - NETC desires the ability to move contracted circuits, add new circuits, remove contracted circuits, and increase bandwidth within the terms of the contract.  Proposing Vendor shall describe how they would accommodate this desire.  The details will be negotiated in the final contract with selected vendors.

- Rejection/Negotiation Rights

  - NETC reserves the right to accept, reject or negotiate the terms of any and all proposal(s), if it is deemed to be in their best interest.

  - NETC reserves the right to select multiple service providers, including which circuits NETC will purchase from selected service providers.

  - NETC reserves the right to select multiple equipment providers, including which equipment NETC will purchase from selected equipment providers.

  - The contents of the proposal submitted by the successful vendor and applicable sections of this RFP and all amendments will become a part of the final contract agreed upon by the parties.

Appendix A

| Site Name | Address | City | State | Zip | Min BW | Opt BW |
| --- | --- | --- | --- | --- | --- | --- |
| Alice Peck Day Memorial Hospital | 125 Mascoma Street | Lebanon | NH | 03766 | 5 | 10 |
| Alice Peck Day Memorial Hospital/Dartmouth Regional Technology Center (DRTC) | 16 Cavendish Court | Lebanon | NH | 03766 | 5 | 10 |
| Ammonoosuc Community Health Services/Franconia | 155 Main Street | Franconia | NH | 03580 | 1.5 | 1000 |
| Ammonoosuc Community Health Services/Littleton | 25 Mt. Eustis Road | Littleton | NH | 03561 | 4.5 | 1000 |
| Ammonoosuc Community Health Services/Warren | 333 Route 25, Main Street | Warren | NH | 03279 | 1.5 | 1000 |
| Ammonoosuc Community Health Services/Whitefield | 14 Kings Square | Whitefield | NH | 03598 | 1.5 | 1000 |
| Ammonoosuc Community Health Services/Woodsville | 79 Swiftwater Road | Woodsville | NH | 03785 | 1.5 | 1000 |
| Androscoggin Valley Hospital/Lab Broadway Street | 2 Broadway Street | Gorham | NH | 03581 | 5 | 10 |
| Androscoggin Valley Hospital/Lab Pleasant Street | 133 Pleasant Street | Berlin | NH | 03570 | 5 | 10 |
| Androscoggin Valley Hospital/Page Hill Road | 59 Page Hill Road | Berlin | NH | 03570 | 25 | 100 |
| Androscoggin Valley Hospital/Rehab Gorham | 138 Main Street | Gorham | NH | 03581 | 5 | 10 |
| Androscoggin Valley Hospital/Sound Medical Imaging | 24 Pleasant Street | Conway | NH | 03818 | 5 | 10 |
| Androscoggin Valley Hospital/Weeks ENT | 170 Middle Street | Lancaster | NH | 03584 | 5 | 10 |
| Behavioral Health Network of Vermont | 2 Prospect Street | Montpelier | VT | 05602 | 1.5 | 4.5 |
| Brattleboro Memorial Hospital | 17 Belmont Avenue | Brattleboro | VT | 05301 | 6 | 10 |
| Brattleboro Retreat | 75 Anna Marsh Lane | Brattleboro | VT | 05302 | 10 | 15 |
| Bucksport Regional Health Center | 110 Broadway | Bucksport | ME | 04416 | 10 | 20 |
| Calais Regional Hospital | 24 Hospital Lane | Calais | ME | 04619 | 3 | 1000 |
| Cary Medical Center | 163 Van Buren Road | Caribou | ME | 04736 | 10 | 45 |
| Cary Medical Center/Pines Family Health Center | 66 Spruce St., Suite 4 | Presque Isle | ME | 04769 | 10 | 45 |
| Cary Medical Center/Pines General Surgery | 7 Prospect Street, Suite 160 | Caribou | ME | 04736 | 10 | 45 |
| Cary Medical Center/Pines Health Center | 74 Access Highway | Caribou | ME | 04736 | 10 | 45 |
| Cary Medical Center/Pines Loring Health Center | 6 North Carolina Road | Limestone | ME | 04750 | 10 | 45 |
| Cary Medical Center/Pines Ophthalmology | 647 Main St. | Caribou | ME | 04736 | 10 | 45 |
| Cary Medical Center/St. John Valley Health Center | 4 Main St. | Van Buren | ME | 04785 | 10 | 45 |
| Catholic Medical Center | 100 McGregor Street | Manchester | NH | 03102 | 100 | 1000 |
| Site Name | Address | City | State | Zip | Min BW | Opt BW |
| Central Vermont Medical Center | 130 Fisher Road | Berlin | VT | 05602 | 100 | 200 |
| Cheshire Medical Center | 580 Court Street | Keene | NH | 03431 | 10 | 100 |
| Cheshire Medical Center/Dartmouth-Hitchcock Keene (Brattleboro Family Health Center) | 53 Fairview St. | Brattleboro | VT | 05301 | 1.5 | 10 |
| Cheshire Medical Center/Dartmouth-Hitchcock Keene (Dartmouth-Hitchcock Keene -- Dermatology) | Suite Two, Building A; 54 Railroad Street | Keene | NH | 03431 | 1.5 | 10 |
| Cheshire Medical Center/Dartmouth-Hitchcock Keene (Dartmouth-Hitchcock Keene Urology and Ophthalmology Center) | Center at Keene 149 Emerald St. Unit J, Keene, NH | Keene | NH | 03431 | 1.5 | 10 |
| Cheshire Medical Center/Dartmouth-Hitchcock Keene (Dartmouth-Hitchcock Peterborough Urology Services) | 452 Old Street Road, Suite 208 | Peterborough | NH | 03458 | 1.5 | 10 |
| Cheshire Medical Center/Dartmouth-Hitchcock Keene (Dartmouth-Hitchcock Walpole) | 11 Westminster Street | Walpole | NH | 03608 | 1.5 | 10 |
| Cheshire Medical Center/Dartmouth-Hitchcock Keene (Dartmouth-Hitchcock Winchester) | 20 Warwick Road | Winchester | NH | 03470 | 1.5 | 10 |
| Cheshire Medical Center/Dartmouth-Hitchcock Keene (Jaffrey Family Medicine and Specialty Services) | 82 Peterborough Street | Jaffrey | NH | 03452 | 1.5 | 10 |
| Cheshire Medical Center/Dartmouth-Hitchcock Keene (The Family Medicine Center at Island St.) | 69-C Island St. | Keene | NH | 03431 | 1.5 | 10 |
| Clara Martin Center - 100 Berl | 100 Hospitality Drive | Montpelier | VT | 05601 | 3 | 10 |
| Clara Martin Center - 11 Main Street Randolph | 11 N Main Street | Randolph | VT | 05060 | 6 | 10 |
| Clara Martin Center - 1483 Lower Plain Rd Bradford | 1483 Lower Plain Road | Bradford | VT | 05033 | 3 | 10 |
| Clara Martin Center - 24 Main Street Randolph | 24 S Main Street | Randolph | VT | 05060 | 3 | 10 |
| Clara Martin Center - 39 Fogg Farm Road Wilder | 39 Fogg Farm Road | Wilder | VT | 05088 | 3 | 10 |
| Clara Martin Center - BIS | 23 Bank Street | Lebanon | NH | 03766 | 3 | 10 |
| Community Health Center of Burlington/Pearl Street Clinic | 179 Pearl Street | Burlington | VT | 05401 | 1.5 | 1000 |
| Community Health Center of Burlington/Riverside Avenue | 617 Riverside Avenue | Burlington | VT | 05401 | 6 | 1000 |
| Community Health Center of Burlington/Safe Harbor Clinic | 184 South Winooski Avenue | Burlington | VT | 05401 | 1.5 | 1000 |
| Community Health Centers of the Rutland Region/Brandon Medical Center | 420 Grove Street | Brandon | VT | 05733 | 5 | 10 |
| Community Health Centers of the Rutland Region/Castleton Family Health Center | 275 Route 30 North | Bomoseen | VT | 05732 | 1.5 | 3 |
| Community Health Centers of the Rutland Region/CHCRR Dental Office | 71 Grove Street | Rutland | VT | 05701 | 1.5 | 3 |
| Community Health Centers of the Rutland Region/Mettowee Valley Family Health Center | 278 Vermont Route 149 | West Pawlet | VT | 05775 | 1.5 | 3 |
| Community Health Centers of the Rutland Region/Rutland Community Health Center | 69 Allen St., Suite 6 | Rutland | VT | 05701 | 1.5 | 3 |
| Community Health Centers of the Rutland Region/Rutland Community Health Center-Stratton Road | 215 Stratton Road | Rutland | VT | 05701 | 1.5 | 3 |
| Community Health Centers of the Rutland Region/The Network Managers | 5 Prospect Street | Tilton | NH | 03276 | 1.5 | 3 |
| Site Name | Address | City | State | Zip | Min BW | Opt BW |
| Copley Hospital | 528 Washington Highway | Morrisville | VT | 05661 | 10 | 100 |
| Copley Professional Services Group/Dental Practice | 66 Morrisville Shopping Plaza | Morrisville | VT | 05661 | 44 | 50 |
| Copley Professional Services Group/Morrisville Family Healthcare | 560 Washington Hwy | Morrisville | VT | 05661 | 44 | 50 |
| Copley Professional Services Group/Stowe Family Practice | 1878 Mountain Road | Stowe | VT | 05672 | 44 | 50 |
| Counseling Service of Addison County | 67 Catamount Park | Middlebury | VT | 05733 | 1.5 | 15 |
| Counseling Service of Addison County - Main Street | 89 Main Street | Middlebury | VT | 05733 | 1.5 | 15 |
| Dartmouth-Hitchcock Medical Center | 1 Medical Center Drive | Lebanon | NH | 03756 | 100 | 1000 |
| DFD Russell Medical Center - Leeds | 180 Church Hill Road | Leeds | ME | 04263 | 4.5 | 10 |
| DFD Russell Medical Center - Monmouth | 11 Academy Road | Monmouth | ME | 04259 | 1.5 | 5 |
| DFD Russell Medical Center - Turner | 7 So. Main Street | Turner | ME | 04282 | 1.5 | 5 |
| Down East Community Hospital/Down East Community Hospital | RR-1 Box 11 Upper Court Street | Machias | ME | 04654 | 10 | 100 |
| Down East Community Hospital/Machias Medical Center | Route 1 East | Machias | ME | 04654 | 1.5 | 10 |
| Down East Community Hospital/Milbridge Medical Center | 24 School Street | Milbridge | ME | 04658 | 1.5 | 10 |
| Down East Community Hospital/Sunrise Care Facility | 11 Ocean Street | Jonesport | ME | 04649 | 1.5 | 10 |
| Eastern Maine Healthcare Systems | 489 State Street | Bangor | ME | 04401 | 100 | 1000 |
| Eastern Maine Healthcare Systems/Aroostook Valley Health Center | 33 Walker Street | Ashland | ME | 04732 | 1.5 | 5 |
| Eastern Maine Healthcare Systems/Brewer Family Practice | 234 State Street | Brewer | ME | 04412 | 1.5 | 5 |
| Eastern Maine Healthcare Systems/C.A. Dean - Northwoods Healthcare-Guilford | 22 Haley Court | Sangerville | ME | 04479 | 1.5 | 5 |
| Eastern Maine Healthcare Systems/C.A. Dean - Northwoods Healthcare-Monson | 7 Greenville Road | Monson | ME | 04464 | 1.5 | 5 |
| Eastern Maine Healthcare Systems/Charles A. Dean Memorial Hospital | 364 Pritham Ave | Greenville | ME | 04441 | 10 | 40 |
| Eastern Maine Healthcare Systems/Community General Hospital | 23 High Street | Fort Fairfield | ME | 04742 | 1.5 | 5 |
| Eastern Maine Healthcare Systems/Eastern Maine Medical Center (PACS) | 417 State Street | Bangor | ME | 04401 | 100 | 1000 |
| Eastern Maine Healthcare Systems/Ellsworth Dialysis | 11 Short Street | Ellsworth | ME | 04605 | 5 | 10 |
| Eastern Maine Healthcare Systems/EMMC - Clinic at Walmart - Bangor | 900 Stillwater Avenue | Bangor | ME | 04401 | 1.5 | 5 |
| Eastern Maine Healthcare Systems/EMMC - Clinic at Walmart - Brewer | 24 Walton Drive | Brewer | ME | 04412 | 1.5 | 5 |
| Eastern Maine Healthcare Systems/Inland Hospital - Clinic at Walmart - Waterville | 80 Waterville Commons Drive | Waterville | ME | 04901 | 1.5 | 5 |
| Eastern Maine Healthcare Systems/Inland Hospital - Inland Orthopedics | 35 Kennedy Memorial Drive Building D | Waterville | ME | 04901 | 5 | 10 |
| Site Name | Address | City | State | Zip | Min BW | Opt BW |
| Eastern Maine Healthcare Systems/Inland Hospital - New Horizons - Dr Bajpai | 121 Main Street | Fairfield | ME | 04937 | 5 | 10 |
| Eastern Maine Healthcare Systems/Inland Hospital - New Horizons - Madison | 344 Lakewood Rd | Madison | ME | 04950 | 5 | 10 |
| Eastern Maine Healthcare Systems/Inland Hospital - New Horizons - North Anson | 167 North Main | N Anson | ME | 04958 | 5 | 10 |
| Eastern Maine Healthcare Systems/Inland Hospital - New Horizons - Oakland | 74 Water Street | Oakland | ME | 04963 | 5 | 10 |
| Eastern Maine Healthcare Systems/Inland Hospital - New Horizons - Unity | 80 Main | Unity | ME | 04988 | 5 | 10 |
| Eastern Maine Healthcare Systems/Inland Hospital - New Horizons - Waterville | 10 Washington Street | Waterville | ME | 04901 | 5 | 10 |
| Eastern Maine Healthcare Systems/Inland Hospital - Sleep Lab - Oakland | 25 First Park, Suite B | Oakland | ME | 04963 | 1.5 | 5 |
| Eastern Maine Healthcare Systems/Inland Hospital - Waterville-180 | 180 Kennedy Memorial Drive | Waterville | ME | 04901 | 100 | 1000 |
| Eastern Maine Healthcare Systems/Inland Hospital - Waterville-200 | 200 Kennedy Memorial Drive | Waterville | ME | 04901 | 5 | 10 |
| Eastern Maine Healthcare Systems/Lincoln Dialysis | 250 Enfield Road | Lincoln | ME | 04457 | 5 | 10 |
| Eastern Maine Healthcare Systems/Neuropsyche | 824 Stillwater Ave | Bangor | ME | 04401 | 5 | 10 |
| Eastern Maine Healthcare Systems/Orono Phyisicans | 84 Kelley Road | Orono | ME | 04473 | 5 | 10 |
| Eastern Maine Healthcare Systems/Sebasticook Valley Hospital | 447 North Main Street | Pittsfield | ME | 04967 | 100 | 1000 |
| Eastern Maine Healthcare Systems/SVH - Clinic at Walmart - Palmyra | 1573 Main Street | Palmyra | ME | 04965 | 1.5 | 5 |
| Eastern Maine Healthcare Systems/SVH - Eastern Maine Urology/Somerset Surgical | 72 North Road | Detroit | ME | 04929 | 5 | 10 |
| Eastern Maine Healthcare Systems/SVH - Professional Provider Center - 169 | 453 Main Street | Pittsfield | ME | 04967 | 1.5 | 5 |
| Eastern Maine Healthcare Systems/SVH - Regional Family Care - Clinton | 1309 Main Street | Clinton | ME | 04927 | 5 | 10 |
| Eastern Maine Healthcare Systems/SVH - Rehabilitation Services | 118 Moosehead Trail, Suite 3 | Newport | ME | 04953 | 1.5 | 5 |
| Eastern Maine Healthcare Systems/SVH - Sebasticook Regional Family Care - Carmel | 447 Main Road | Carmel | ME | 04419 | 5 | 10 |
| Eastern Maine Healthcare Systems/SVH - Sebasticook Regional Family Care-Newport | 8 Main Street | Newport | ME | 04953 | 5 | 10 |
| Eastern Maine Healthcare Systems/SVH - Sebasticook Regional Family Care-Pittsfield | 470 Somerset Avenue | Pittsfield | ME | 04967 | 5 | 10 |
| Eastern Maine Healthcare Systems/TAMC - Central Aroostook Medical Healthcare - Mars Hill | 106 Main Street | Mars Hill | ME | 04758 | 1.5 | 5 |
| Eastern Maine Healthcare Systems/TAMC - Clinic at Walmart - Presque Isle | 781 Main Street | Presque Isle | ME | 04769 | 1.5 | 5 |
| Eastern Maine Healthcare Systems/The Aroostook Medical Center - 140 Academy | 140 Academy Street | Presque Isle | ME | 04769 | 100 | 1000 |
| Eastern Maine Healthcare Systems/The Aroostook Medical Center - 172 Academy | 172 Academy Street | Presque Isle | ME | 04769 | 10 | 20 |
| Eastern Maine Healthcare Systems/The Aroostook Medical Center - Caribou | 118 Bennett Drive, Suite 130 | Caribou | ME | 04736 | 1.5 | 5 |
| Eastern Maine Healthcare Systems/The Cianchette Building Brewer | 43 Whiting Hill Rd | Brewer | ME | 04412 | 100 | 1000 |
| Site Name | Address | City | State | Zip | Min BW | Opt BW |
| Eastport Health Care | 30 Boynton Street | Eastport | ME | 04631 | 6.1 | 100 |
| Eastport Health Care/Calais | 55 Franklin Street | Calais | ME | 04619 | 6.1 | 100 |
| Eastport Health Care/Machias | 11 Freemont Street | Machias | ME | 04654 | 6.1 | 100 |
| Edith Nourse Rogers Memorial Veterans Hospital | 200 Spring Road | Bedford | MA | 01730 | 1.5 | 4.5 |
| Fish River Rural Health - Eagle Lake | 10 Carter Street | Eagle Lake | ME | 04739 | 5 | 10 |
| Fish River Rural Health - Fort Kent | 194 East Main St, Second Floor | Fort Kent | ME | 04743 | 5 | 10 |
| Fletcher Allen Health Care | 111 Colchester Avenue | Burlington | VT | 05401 | 100 | 1000 |
| Fletcher Allen Health Care - Aesculapius Medical Center | 1 Timber Lane | South Burlington | VT | 05403 | 4.5 | 50 |
| Fletcher Allen Health Care - Aquatic Rehabilitation | In Winooski Community Center, 32 Mallets Bay Avenue | Winooski | VT | 05404 | 1.5 | 4.5 |
| Fletcher Allen Health Care - Bennington Dialysis | 100 Hospital Drive | Bennington | VT | 05201 | 1.5 | 4.5 |
| Fletcher Allen Health Care - Berlin Family Practice / ENT/ Dialysis | 130 Fisher Road, Suite 3-1 | Berlin | VT | 05641 | 4.5 | 50 |
| Fletcher Allen Health Care - Berlin Ophthalmology | 58 East View Lane | Berlin | VT | 05602 | 1.5 | 10 |
| Fletcher Allen Health Care - BSQ Campus | One Burlington Square | Burlington | VT | 05401 | 50 | 100 |
| Fletcher Allen Health Care - Chittenden County Dialysis | 35 Joy Drive | South Burlington | VT | 05403 | 1.5 | 10 |
| Fletcher Allen Health Care - Colchester Family Practice | 883 Blakely Road | Colchester | VT | 05446 | 4.5 | 50 |
| Fletcher Allen Health Care - Dialysis at Rutland Regional | 160 Allen Street | Rutland | VT | 05701 | 1.5 | 4.5 |
| Fletcher Allen Health Care - FAH Campus | 790 College Parkway | Colchester | VT | 05446 | 6 | 1000 |
| Fletcher Allen Health Care - Genetics | 112 Colchester Avenue | Burlington | VT | 05401 | 1.5 | 4.5 |
| Fletcher Allen Health Care - Given Essex | 87 Main Street | Essex Junction | VT | 05452 | 4.5 | 10 |
| Fletcher Allen Health Care - Given Williston | 353 Blair Park | Williston | VT | 05495 | 4.5 | 50 |
| Fletcher Allen Health Care - Milton Family Practice | 28 Centre Drive | Milton | VT | 05468 | 4.5 | 50 |
| Fletcher Allen Health Care - North Country Dialysis | 189 Prouty Drive | Newport | VT | 05855 | 1.5 | 50 |
| Fletcher Allen Health Care - Northwest Medical Cardiology / ENT/ Dermatology | 260 Crest Road, Cobblestone Health Commons | St Albans | VT | 05478 | 1.5 | 50 |
| Fletcher Allen Health Care - Orthopedics | 192 Tilley Drive | South Burlington | VT | 05403 | 6 | 50 |
| Fletcher Allen Health Care - Radiology at Gifford Medical Center | 44 South Main Street | Randolph | VT | 05060 | 1.5 | 100 |
| Fletcher Allen Health Care - Reconstructure / Plastic Surgery | 354 Mountain View Drive | Colchester | VT | 05446 | 1.5 | 50 |
| Fletcher Allen Health Care - Sleep Disorders Center | 870 Williston Road | South Burlington | VT | 05403 | 1.5 | 4.5 |
| Site Name | Address | City | State | Zip | Min BW | Opt BW |
| Fletcher Allen Health Care - South Burlington Family Practice | 1775 Williston Road | South Burlington | VT | 05403 | 1.5 | 50 |
| Fletcher Allen Health Care - St Albans Dialysis | 7 Crest Road, Suite 78 | St Albans | VT | 05478 | 1.5 | 4.5 |
| Fletcher Allen Health Care - Tilley Cardiology / Pain Management | 62 Tilley Drive | South Burlington | VT | 05403 | 4.5 | 50 |
| Fletcher Allen Health Care - TPK Campus | 30 Community Drive | South Burlington | VT | 05403 | 4.5 | 1000 |
| Fletcher Allen Health Care - UHC Campus | 1 South Prospect Street | Burlington | VT | 05401 | 25 | 1000 |
| Gifford Medical Center | 44 South Main Street | Randolph | VT | 05060 | 20 | 100 |
| Harrington Family Center | 50 East Main | Harrington | ME | 04643 | 10 | 45 |
| HCRS/Bellows Falls Office | 1 Hospital Ct | Bellows Falls | VT | 05101 | 1.5 | 10 |
| HCRS/Brattleboro CRT | 29 Elm St | Brattleboro | VT | 05301 | 1.5 | 10 |
| HCRS/Brattleboro OP & DS | 51 Fairview St | Brattleboro | VT | 05301 | 4.5 | 10 |
| HCRS/Hartford Office | 49 School St | Hartford | VT | 05047 | 4.5 | 10 |
| HCRS/Springfield | 390 River Street | Springfield | VT | 05156 | 10 | 45 |
| HCRS/Windsor Office | 14 River St | Windsor | VT | 05089 | 1.5 | 10 |
| Health FirstFamily Care Center -- Franklin | 841 Central Street | Franklin | NH | 03235 | 3 | 10 |
| Health FirstFamily Care Center --Laconia | 22 Strafford Street | Laconia | NH | 03246 | 3 | 10 |
| Health FirstFamily Care Center/Lamprey Health Care | 207 South Main Street | Newmarket | NH | 03857 | 3 | 10 |
| HealthReach CHC/Bingham Area Health Center | 237 Main Street | Bingham | ME | 04920 | 1.5 | 10 |
| HealthReach CHC/Madison Area Health Center | 8 South Main Street | Madison | ME | 04950 | 1.5 | 10 |
| Houlton Regional Hospital | 20 Hartford Street | Houlton | ME | 04730 | 10 | 20 |
| HowardCenter | 300 Flynn Avenue | Burlington | VT | 05401 | 6 | 1000 |
| HowardCenter Act One Program | 184 Pearl Street | Burlington | VT | 05401 | 5 | 10 |
| HowardCenter Administrative Offices | 208 Flynn Avenue Suite 3J | Burlington | VT | 05401 | 4.5 | 1000 |
| HowardCenter Centerpoint Program | 1025 Airport Drive | South Burlington | VT | 05403 | 5 | 10 |
| HowardCenter Children Youth and Family Services | 1138 Pine Steet | Burlington | VT | 05401 | 25 | 1000 |
| HowardCenter Chittenden Clinic | 425 Pearl Street | Burlington | VT | 05401 | 5 | 10 |
| HowardCenter CODTP Program | 45 Clark Street | Burlington | VT | 05401 | 5 | 10 |
| HowardCenter Developmental Services | 102 S. Winooski Avenue | Burlington | VT | 05401 | 6 | 1000 |
| Site Name | Address | City | State | Zip | Min BW | Opt BW |
| HowardCenter Jean Garvin School | 90 Harvest Lane | Williston | VT | 05495 | 5 | 10 |
| Huggins Hospital/240 South Main Street | 240 South Main Street | Wolfeboro | NH | 03894 | 100 | 1000 |
| Huggins Hospital/Alton Family Medicine | 82 Main Street | Alton | NH | 03809 | 10 | 100 |
| Huggins Hospital/Back Bay Rehabilitation | 90 Mill Street | Wolfeboro | NH | 03894 | 10 | 100 |
| Huggins Hospital/Moultonborough Family Medicine | 984 Whittier Highway | Moultonborough | NH | 03254 | 10 | 100 |
| Huggins Hospital/Ossipee Family Medicine | 3 Water Village Road | Ossipee | NH | 03864 | 10 | 100 |
| Huggins Hospital/Paul DeMasi, M.D. | 609 South Main Street | Wolfeboro | NH | 03894 | 10 | 100 |
| Huggins Hospital/Rust Pond Family Medicine | 6 Middleton Road | Wolfeboro | NH | 03894 | 10 | 100 |
| Huggins Hospital/Tamworth Family Medicine | 448 White Mountain Highway | Tamworth | NH | 03886 | 10 | 100 |
| Huggins Hospital/Wakefield Family Medicine | 131 Meadow Street | Sanbornville | NH | 03872 | 10 | 100 |
| Husson College | One College Circle | Bangor | ME | 04401 | 100 | 1000 |
| Husson College, Calais | 203 Main Street | Calais | ME | 04619 | 10 | 100 |
| Husson College, Presque Isle | 33 Edgemont Drive | Presque Isle | ME | 04769 | 10 | 100 |
| Husson College, South Portland | 220 Maine Mall Road | South Portland | ME | 04106 | 10 | 100 |
| Islands Community Medical Services | 15 Medical Center Loop | Vinalhaven | ME | 04863 | 3 | 10 |
| Islesboro Health Center | 150 Main Road | Islesboro | ME | 04848 | 1.5 | 3 |
| Katahdin Valley Health Center - Houlton - Bangor Street | 59 Bangor St | Houlton | ME | 04730 | 39 | 50 |
| Katahdin Valley Health Center - Island Falls | 1300 Crystal Rd | Island Falls | ME | 04747 | 4 | 8 |
| Katahdin Valley Health Center - Millinocket Primary Care | 180 Aroostook Avenue | Millinocket | ME | 04462 | 24 | 50 |
| Katahdin Valley Health Center - Patten | 30 Houlton Street | Patten | ME | 04765 | 75 | 100 |
| Lamoille Community Connections | 72 Harrel Street | Morrisville | VT | 05661 | 1.5 | 5 |
| Little Rivers Health Care - Administration | 146 Mill Street | Bradford | VT | 05033 | 1.5 | 100 |
| Little Rivers Health Care - Bradford | 437 South Main Street | Bradford | VT | 05033 | 1.5 | 100 |
| Little Rivers Health Care - East Corinth | 720 Village Road | East Corinth | VT | 05040 | 1.5 | 100 |
| Little Rivers Health Care - Wells River | 65 Main Street | Wells River | VT | 05081 | 1.5 | 100 |
| LRG Healthcare/Franklin Regional Hospital | 15 Aiken Ave | Franklin | NH | 03235 | 10 | 100 |
| LRG Healthcare/Lakes Region General Hospital | 80 Highland Street | Laconia | NH | 03246 | 10 | 100 |
| Site Name | Address | City | State | Zip | Min BW | Opt BW |
| Maine Coast - Eleanor Widener Dixon Memorial Clinic | 37 Clinic Road, Rt 186 | Gouldsboro | ME | 04607 | 10 | 200 |
| Maine Coast Memorial Hospital | 50 Union St. | Ellsworth | ME | 04605 | 100 | 1000 |
| Maine Coast Memorial Hospital/Ellsworth Internal Medicine, Ellsworth Family Practice and Ellsworth Pediatrics | 32 Resort Way | Ellsworth | ME | 04605 | 10 | 100 |
| Maine Coast Memorial Hospital/Southwest Harbor Medical Center | 45 Herrick Road | Southwest Harbor | ME | 04679 | 10 | 100 |
| Maine Migrant Health Program - Admin Office | 9 Green Street | Augusta | ME | 04332 | 1.5 | 3 |
| Maine Migrant Health Program - Mobile Clinic 1 | 815 visits to sites 1-10 | Fryeburg | ME | 04037 | 1.5 | 3 |
| Maine Migrant Health Program - Mobile Clinic 2 | 1105 visits to sites 11-20 | Cherryfield | ME | 04622 | 1.5 | 3 |
| Maine Migrant Health Program - Mobile Clinic 3 | 434 visits to sites 21-30 | Oquossuc | ME | 04964 | 1.5 | 3 |
| Maine Primary Care Office | 73 Winthrop Street | Augusta | ME | 04330 | 15 | 20 |
| Maine Sea Coast Mission - Mobile Clinic - Cranberry Isles | 24 Visits Cranberry Isles | Cranberry Isles | ME | 04625 | 1.5 | 3 |
| Maine Sea Coast Mission - Mobile Clinic - Frenchboro | 24 Visits Frenchboro | Frenchboro | ME | 04635 | 1.5 | 3 |
| Maine Sea Coast Mission - Mobile Clinic - Isle au Haut | 24 Visits Isle au Haut | Isle au Haut | ME | 04645 | 1.5 | 3 |
| Maine Sea Coast Mission - Mobile Clinic - Matinicus | 24 Visits Matinicus | Matinicus | ME | 04851 | 1.5 | 3 |
| Maine Sea Coast Mission - Mobile Clinic - Monhegan | 24 Visits Monhegan | Monhegan | ME | 04852 | 1.5 | 3 |
| Maine Sea Coast Mission - Sunbeam Mobile Ship Clinic | 200 Visits | Bar Harbor | ME | 04609 | 1.5 | 3 |
| Maine Sea Coast Mission - Swans Island | Mill Pond Health Center, 225 Minturn Road | Swans Island | ME | 04685 | 1.5 | 3 |
| Maine Sea Coast Mission/Acadia Family Center | 1 Fernald Point Road | SouthWest Harbor | ME | 04679 | 1.5 | 3 |
| Maine Sea Coast Mission/Colket Data Center | 127 West Street | Bar Harbor | ME | 04609 | 1.5 | 3 |
| Maine State Government/Dorothea Dix Psychiatric Center | 656 State Street | Bangor | ME | 04401 | 25 | 100 |
| Maine State Government/Riverview Psychiatric Center | 250 Arsenal Street, 11 State House Station | Augusta | ME | 04332 | 25 | 100 |
| MaineGeneral Health/Alan Ross, M.D. | 147 Riverside Dr # 1 | Augusta | ME | 04330 | 1.5 | 4.5 |
| MaineGeneral Health/Allan W. Nyman, D.P.M. | 316 Main St | Waterville | ME | 04901 | 1.5 | 4.5 |
| MaineGeneral Health/Anthony Pakiam, M.D. | 56 Winthrop Street | Augusta | ME | 04330 | 1.5 | 4.5 |
| MaineGeneral Health/Atlee & Gleaton Eye Care | 227 EASTERN AVE. | Augusta | ME | 04330 | 1.5 | 4.5 |
| MaineGeneral Health/Augusta Foot & Ankle Center | 26 Eastern Avenue | Augusta | ME | 04330 | 1.5 | 4.5 |
| MaineGeneral Health/Augusta Internal Medicine | 12 Spruce St. Ste. 7 | Augusta | ME | 04330 | 1.5 | 4.5 |
| MaineGeneral Health/Augusta Surgical Associates | 16 Caldwell Road | Augusta | ME | 04330 | 1.5 | 4.5 |
| Site Name | Address | City | State | Zip | Min BW | Opt BW |
| MaineGeneral Health/Belgrade Regional Health Center | 4 Clement Way | Belgrade | ME | 04917 | 1.5 | 10 |
| MaineGeneral Health/Brian J. Gillis, D.O. | 8 Water Street | Oakland | ME | 04963 | 1.5 | 4.5 |
| MaineGeneral Health/Capital Family Practice | 89 Hosptial Street | Augusta | ME | 04330 | 1.5 | 4.5 |
| MaineGeneral Health/Clint Delashaw, M.D. | 16 Caldwell Road | Augusta | ME | 04330 | 1.5 | 4.5 |
| MaineGeneral Health/Daniel Benson, D.P.M. | 12 Spruce Street | Augusta | ME | 04330 | 1.5 | 4.5 |
| MaineGeneral Health/Daniel Buck, D.P.M. | 3 St. Catherine Street | Augusta | ME | 04330 | 1.5 | 4.5 |
| MaineGeneral Health/Diabetes & Nutrition Augusta | 157 Capitol St | Augusta | ME | 04330 | 100 | 1000 |
| MaineGeneral Health/Douglas A. O’Heir, D.P.M. | 143 Silver St | Waterville | ME | 04901 | 1.5 | 4.5 |
| MaineGeneral Health/Dudley Chiropractic | 116 College Ave | Waterville | ME | 04901 | 1.5 | 4.5 |
| MaineGeneral Health/Erwin B. Seywerd, M.D. | 79 Arsenal St | Augusta | ME | 04330 | 1.5 | 4.5 |
| MaineGeneral Health/Eye Center of Central Maine | 40 Airport Road | Waterville | ME | 04901 | 1.5 | 4.5 |
| MaineGeneral Health/Garrison Hlth Center-Colby | 4460 Mayflower Hill Drive | Waterville | ME | 04901 | 1.5 | 4.5 |
| MaineGeneral Health/Hallowell Family Practice | 9 Union Street | Hallowell | ME | 04347 | 1.5 | 4.5 |
| MaineGeneral Health/Jackman Region Health Center | 376 Main Street | Jackman | ME | 04945 | 10 | 100 |
| MaineGeneral Health/Kennebec County Urology, PA | 9 PLEASANT STREET | Oakland | ME | 04963 | 1.5 | 4.5 |
| MaineGeneral Health/Kennebec Internal Medicine Assoc. | 9 Glenridge Dr. | Augusta | ME | 04330 | 5 | 10 |
| MaineGeneral Health/Kennebec Pediatrics | 263 Water Street | Augusta | ME | 04330 | 100 | 1000 |
| MaineGeneral Health/Kennebec Urology-Dr. Tooth | 76 Eastern Ave | Augusta | ME | 04330 | 1.5 | 4.5 |
| MaineGeneral Health/Kennebec Valley OB/GYN | 5 Caldwell Road | Augusta | ME | 04330 | 1.5 | 4.5 |
| MaineGeneral Health/Lovejoy Health Center | 7 School St. Suite 1 | Albion | ME | 04910 | 1.5 | 10 |
| MaineGeneral Health/MaineGeneral Behavioral Health | 165 North Avenue | Skowhegan | ME | 04976 | 1.5 | 10 |
| MaineGeneral Health/MaineGeneral Medical Center - Augusta Campus | 6 East Chestnut Street | Augusta | ME | 04330 | 100 | 1000 |
| MaineGeneral Health/MaineGeneral Medical Center-325 KMD Doctor's Complex | 325 Kennedy Memorial Drive | Waterville | ME | 04901 | 4.5 | 1000 |
| MaineGeneral Health/MaineGeneral Medical Center-FirstPark Orthopedics and Imaging | 107 First Park Drive | Oakland | ME | 04963 | 4.5 | 1000 |
| MaineGeneral Health/MaineGeneral Medical Center-Gardiner | 152 Dresden Avenue | Gardiner | ME | 04345 | 6 | 1000 |
| MaineGeneral Health/MaineGeneral Medical Center-Hathaway Creative Ctr | 10 Water Street, Suite 307 | Waterville | ME | 04901 | 6 | 1000 |
| MaineGeneral Health/MaineGeneral Medical Center-Maine Dartmouth & Four Seasons FP | 4 Sheridan Drive | Fairfield | ME | 04937 | 4.5 | 1000 |
| Site Name | Address | City | State | Zip | Min BW | Opt BW |
| MaineGeneral Health/MaineGeneral Medical Center-Musculoskeletal Institute | 15 Enterprise Drive, Suite 100, 200 | Augusta | ME | 04330 | 4.5 | 1000 |
| MaineGeneral Health/MaineGeneral Medical Center--Seton Campus | 30 Chase Ave | Waterville | ME | 04901 | 6 | 1000 |
| MaineGeneral Health/MaineGeneral Medical Center--Thayer Campus | 149 North Street | Waterville | ME | 04901 | 100 | 1000 |
| MaineGeneral Health/MaineGeneral Medical Center-Waterville Family Practice (Elmwood) | 211 Main St. | Waterville | ME | 04901 | 1.5 | 1000 |
| MaineGeneral Health/MaineGeneral Medical Center-Winthrop Commerce Ctr | 149 Main Street | Winthrop | ME | 04364 | 6 | 1000 |
| MaineGeneral Health/MaineGeneral-HACCC | 361 Old Belgrade Road | Augusta | ME | 04330 | 6 | 1000 |
| MaineGeneral Health/Manchester Osteopathic | 1053 Western Ave | Manchester | ME | 04351 | 1.5 | 4.5 |
| MaineGeneral Health/Michael Szela, M.D. | 89 Hospital Street | Augusta | ME | 04330 | 1.5 | 4.5 |
| MaineGeneral Health/Middle Street Medical - Dr. Cheng | 6 Middle Street | Augusta | ME | 04330 | 1.5 | 4.5 |
| MaineGeneral Health/Mid-Maine Internal Medicine - Vassalboro | 905 Main Street | N. Vassalboro | ME | 04962 | 10 | 15 |
| MaineGeneral Health/Mid-Maine Internal Medicine - Winslow | 3 Garland Rd. | Winslow | ME | 04901 | 10 | 15 |
| MaineGeneral Health/Oakland Family Health Care, PA | 9 PLEASANT STREET, SUITE 1 | Oakland | ME | 04963 | 1.5 | 10 |
| MaineGeneral Health/Richmond Area Health Center | 24 Gardiner Street | Richmond | ME | 04357 | 1.5 | 10 |
| MaineGeneral Health/Roger Hall, M.D. | 89 Hospital St Ste 1 | Augusta | ME | 04330 | 1.5 | 4.5 |
| MaineGeneral Health/Rosalind R. Waldron, M.D. | 15 Bay St | Winslow | ME | 04901 | 1.5 | 4.5 |
| MaineGeneral Health/Sheepscot Valley Health Center | 47 Main | Coopers Mills | ME | 04341 | 1.5 | 10 |
| MaineGeneral Health/Three Rivers Family | 180 Kennedy Memorial Drive | Waterville | ME | 04901 | 1.5 | 4.5 |
| MaineGeneral Health/Waterville Family Practice | 13 Railroad Sq. | Waterville | ME | 04901 | 1.5 | 4.5 |
| MaineGeneral Health/Waterville Foot & Ankle Center, PA | 25 First Park Suite C | Oakland | ME | 04963 | 1.5 | 4.5 |
| MaineGeneral Health/Waterville Pediatrics | 159 Silver Street | Waterville | ME | 04901 | 1.5 | 4.5 |
| MaineGeneral Health/Waterville Womens | 219 Capital Street | Augusta | ME | 04330 | 1.5 | 4.5 |
| MaineGeneral Health/Waterville Women's Care | 25 First Park | Oakland | ME | 04963 | 1.5 | 4.5 |
| MaineHealth/Cancer Care Center of York County | 27 Industrial Park Ave | Sanford | ME | 04073 | 100 | 1000 |
| MaineHealth/Falmouth Family Practice Center | 5 Bucknam Road, Suite 2C | Falmouth | ME | 04105 | 100 | 1000 |
| MaineHealth/Gorham Village Family Physicians | 94 Main Street | Gorham | ME | 04038 | 4 | 10 |
| MaineHealth/Greater Portland Medical Group - Cape Elizabeth | 155 Spurwink Avenue | Cape Elizabeth | ME | 04107 | 4 | 10 |
| MaineHealth/Greater Portland Pediatric Association - Saco | 4 Scamman Street, Suite 51 | Saco | ME | 04072 | 4 | 10 |
| Site Name | Address | City | State | Zip | Min BW | Opt BW |
| MaineHealth/Lake Region Primary Care Services | 584 Roosevelt Trail | Windham | ME | 04062 | 1.5 | 10 |
| MaineHealth/Maine Medical Center | 22 Bramhall Street | Portland | ME | 04102 | 100 | 1000 |
| MaineHealth/Marshwood | 33 Gorham Road | Scarborough | ME | 04074 | 100 | 1000 |
| MaineHealth/MMC - Bariatric Surgery Program | 12 Andover Road | Portland | ME | 04102 | 10 | 50 |
| MaineHealth/MMC - Care Partners | 241 Oxford Street | Portland | ME | 04101 | 10 | 50 |
| MaineHealth/MMC - Lyme Disease | 75 John Roberts Road | South Portland | ME | 04106 | 1.5 | 4.5 |
| MaineHealth/MMC - MaineHealth Corporate | 110 Free Street | Portland | ME | 04101 | 1.5 | 4.5 |
| MaineHealth/MMC - Outpatient Radiation Therapy | 175 Congress Avenue | Bath | ME | 04530 | 10 | 50 |
| MaineHealth/MMC - Radi Billing & Transcr, Virology, OR Booking | 48-52 Gilman Street | Portland | ME | 04102 | 10 | 50 |
| MaineHealth/MMC - Scarborough Campus | 98-102 Campus Drive | Scarborough | ME | 04074 | 6 | 25 |
| MaineHealth/Stephens Memorial Hospital | 181 Main Street | Norway | ME | 04268 | 100 | 200 |
| MaineHealth/Western Maine Family Practice | 193 Main Street, Suite 2 | Norway | ME | 04268 | 25 | 50 |
| Martin's Point Health Care/Bangor | 700 Mount Hope Avenue, Suite 650 | Bangor | ME | 04401 | 1.5 | 10 |
| Martin's Point Health Care/Brunswick | 6 Farley Road | Brunswick | ME | 04011 | 4.5 | 100 |
| Martin's Point Health Care/Portsmouth | 161 Corporate Drive | Portsmouth | NH | 03801 | 4.5 | 100 |
| Martin's Point Health Care/TW data center | 340 Cumberland Avenue | Portland | ME | 04101 | 1.5 | 100 |
| Martin's Point Health Care/Veranda | 331 Veranda Street | Portland | ME | 04104 | 6 | 100 |
| Martin's Point Health Care/Washington Ave | 891 Washington Avenue | Portland | ME | 04103 | 25 | 100 |
| Mayo Regional Hospital - 897 West Main Street | 897 West Main Street | Dover-Foxcroft | ME | 04426 | 3 | 100 |
| Mayo Regional Hospital - Corinna Family Practice | 110 Dexter Road | Corinna | ME | 04928 | 1.5 | 100 |
| Mayo Regional Hospital - Counseling Program | 69 High Street | Dover-Foxcroft | ME | 04426 | 1.5 | 100 |
| Mayo Regional Hospital - Dexter Family Practice | 51 High Street | Dexter | ME | 04930 | 1.5 | 100 |
| Mayo Regional Hospital - Dexter Internal Medicine | 41 High Street | Dexter | ME | 04930 | 1.5 | 100 |
| Mayo Regional Hospital - Guilford Medical Associates | 3 Park Street | Guilford | ME | 04443 | 1.5 | 100 |
| Mayo Regional Hospital - Milo Family Practice | 135 Park Street | Milo | ME | 04463 | 1.5 | 100 |
| Mayo Regional Hospital - Physician Billing | 125 Summer Street | Dover-Foxcroft | ME | 04426 | 1.5 | 100 |
| Mercy Hospital/144 State Street | 144 State Street | Portland | ME | 04101 | 100 | 1000 |
| Site Name | Address | City | State | Zip | Min BW | Opt BW |
| Mercy Hospital/Mercy Gorham Crossing | 19 South Gorham Crossing | Gorham | ME | 04038 | 4.5 | 10 |
| Mercy Hospital/Mercy Medical Associates | 409 Roosevelt Trail | Windham | ME | 04062 | 10 | 100 |
| Mercy Hospital/Mercy Medical Associates - Falmouth | 75 Clearwater Drive, Suite 106 | Falmouth | ME | 04105 | 1.5 | 10 |
| Mercy Hospital/Mercy Primary Care - Portland | 117 Auburn Street | Portland | ME | 04106 | 4.5 | 10 |
| Mercy Hospital/Mercy Primary Care - Standish | 111 Ossippee Trail, Unit 1B | Standish | ME | 04084 | 1.5 | 10 |
| Mercy Hospital/Mercy Westbrook | 40 Park Road | Westbrook | ME | 04092 | 4.5 | 100 |
| Mid Coast Health Services/Mid Coast Hospital 123 Medical Center Drive | 123 Medical Center Drive | Brunswick | ME | 04011 | 100 | 1000 |
| Mid Coast Health Services/Mid Coast Hospital Addiction Resource Center | 20 Bristol Road | Damariscotta | ME | 04543 | 100 | 1000 |
| Mid Coast Health Services/Mid Coast Hospital Baribeau Drive Campus | 58 Baribeau Drive | Brunswick | ME | 04011 | 100 | 1000 |
| Mid Coast Health Services/Mid Coast Hospital BMG Radiology | 74 Baribeau Drive | Brunswick | ME | 04011 | 100 | 1000 |
| Mid Coast Health Services/Mid Coast Hospital Coastal Orthopedics Radiology | 430 Bath Road | Brunswick | ME | 04011 | 100 | 1000 |
| Mid Coast Health Services/Mid Coast Medical Group - Bath | 1356 Washington Street | Bath | ME | 04530 | 100 | 1000 |
| Mid Coast Health Services/Mid Coast Medical Group - Topsham | 1 Main Street | Topsham | ME | 04086 | 100 | 1000 |
| Mid Coast Health Services/Mid Coast Medical Group Neurology | 11 Medical Center Drive | Brunswick | ME | 04011 | 100 | 1000 |
| Mid Coast Health Services/Mid Coast Rehabilitation Services | 310 Bath Road | Brunswick | ME | 04011 | 100 | 1000 |
| MidCoast Mental Health Belfast | 15 Mid-Coast Drive | Belfast | ME | 04915 | 100 | 110 |
| MidCoast Mental Health Rockland | 12 Union Street | Rockland | ME | 04841 | 100 | 110 |
| MidState Health Center/MidState Health Center - Plymouth | 101 Boulder Point Drive | Plymouth | NH | 03264 | 10 | 100 |
| Millinocket Regional Hospital/200 Somerset Street | 200 Somerset Street | Millinocket | ME | 04462 | 60 | 100 |
| Millinocket Regional Hospital/Millinocket Surgical Assoc./N. Pen. Orth. | 165 Poplar Street, Suite 1 | Millinocket | ME | 04462 | 1.5 | 4.5 |
| Millinocket Regional Hospital/White Birch Medical Center | 899 Central Street | Millinocket | ME | 04462 | 1.5 | 4.5 |
| Monadnock Community Hospital/Monadnock Community Hospital | 452 Old Street Road | Peterborough | NH | 03458 | 18 | 25 |
| Mount Desert Island Hospital/10 Wayman Lane | 10 Wayman Lane | Bar Harbor | ME | 04609 | 100 | 1000 |
| Mount Desert Island Hospital/Bar Harbor Offices | 315 Main Street | Bar Harbor | ME | 04609 | 1.5 | 10 |
| Mount Desert Island Hospital/Cadillac Mountain Medical Building | 322 Main Street | Bar Harbor | ME | 04609 | 4.5 | 10 |
| Mount Desert Island Hospital/Community Health Center | 9 Village Green Way | Southwest Harbor | ME | 04679 | 10 | 50 |
| Mount Desert Island Hospital/Trenton Health Center | 394 Bar Harbor Road | Trenton | ME | 04605 | 10 | 50 |
| Site Name | Address | City | State | Zip | Min BW | Opt BW |
| Mount Desert Island Hospital/Women's Health Center | 8 Wayman Lane | Bar Harbor | ME | 04609 | 1.5 | 10 |
| Mt. Ascutney Hospital & Health Center | 289 County Road | Windsor | VT | 05089 | 9 | 45 |
| Mt. Ascutney Hospital & Health Center/Ottauquechee Health Center | 32 Pleasant Street | Woodstock | VT | 05091 | 1.5 | 10 |
| Mt. Ascutney Hospital & Health Center/Physician Practices/Hanover | 80 South Main Street | Hanover | NH | 03755 | 1.5 | 10 |
| Mt. Ascutney Hospital & Health Center/Physician Practices/White River Junction | 205 Billings Farm Road, Unit 2B | White River Junction | VT | 05001 | 1.5 | 10 |
| New England Telehealth Consortium/Data Center 1 | 60 Summer Street | Bangor | ME | 04401 | *See RFP 12.2 |
| New England Telehealth Consortium/Data Center 2 | 16 Cavendish Court | Lebanon | NH | 03766 | *See RFP 12.2 |
| New London Hospital | 273 County Road | New London | NH | 03257 | 118.26 | 236.51 |
| New London Hospital/New London Family Care Center at Grantham | 120 Route 10 | Grantham | NH | 03753 | 1.5 | 3 |
| New London Hospital/Newport Health Center | 11 John Stark Highway | Newport | NH | 03773 | 101.5 | 203 |
| NFI Vermont, Inc., Admin | 30 Airport Road | South Burlington | VT | 05403 | 3.5 | 6 |
| NFI Vermont, Inc., BCAP | 72 Black Mountain Road | Brattleboro | VT | 05301 | 1.5 | 3.5 |
| NFI Vermont, Inc., Cornerstone | 510 Portland Street | Saint Johnsbury | VT | 05819 | 1.5 | 3.5 |
| NFI Vermont, Inc., Hospital Diversion | 100 Allen Road | South Burlington | VT | 05403 | 1.5 | 3.5 |
| North Country Health Consortium Dental Program/Molar Express | 176 Visits | Whitefield | NH | 03598 | 1.5 | 4.5 |
| North Country Health Consortium/Coos County Family Health Services - 133 Pleasant | 133 Pleasant Street | Berlin | NH | 03570 | 1.5 | 3 |
| North Country Health Consortium/Coos County Family Health Services - 59 Page | 59 Page Hill Road | Berlin | NH | 03570 | 1.5 | 3 |
| North Country Health Consortium/Coos County Family Health Services - Administration | 54 Willow Street | Berlin | NH | 03570 | 1.5 | 3 |
| North Country Health Consortium/Coos County Family Health Services - Gorham | 2 Broadway Street | Gorham | NH | 03581 | 1.5 | 3 |
| North Country Health Consortium/Cottage Hospital | 90 Swiftwater Road | Woodsville | NH | 03785 | 6 | 1000 |
| North Country Health Consortium/Littleton Regional Hospital | 600 St. Johnsbury Road | Littleton | NH | 03561 | 10 | 25 |
| North Country Health Consortium/Upper Connecticut Valley Hospital | 181 Corliss Lane | Colebrook | NH | 03576 | 10 | 45 |
| North Country Health Consortium/Weeks Medical Center | 173 Middle Street | Lancaster | NH | 03584 | 25 | 40 |
| North Country Health Consortium/Whitefield | 7 Main Street, Suite 7 | Whitefield | NH | 03598 | 1.5 | 4.5 |
| North Country Hospital | 189 Prouty Drive | Newport | VT | 05855 | 10 | 20 |
| Northeast Kingdom Human Services/Newport | 154 Duchess Street | Newport | VT | 05855 | 26.5 | 50 |
| Northeast Kingdom Human Services/St. Johnsbury | 2225 Portland Street | Saint Johnsbury | VT | 05819 | 21.5 | 40 |
| Site Name | Address | City | State | Zip | Min BW | Opt BW |
| Northeastern Vermont Regional Hospital | 1315 Hospital Drive | St. Johnsbury | VT | 05819 | 25 | 1000 |
| Northeastern Vermont Regional Hospital/NVRH Corner Medical | 195 Industrial Parkway | Lyndonville | VT | 05851 | 4.5 | 1000 |
| Northern Berkshire Healthcare/North Adams Regional Hospital | 71 Hospital Avenue | North Adams | MA | 01247 | 45 | 100 |
| Northern Berkshire Healthcare/Northern Berkshire Physician Group | 820 State Road | North Adams | MA | 01247 | 1.5 | 45 |
| Northern Berkshire Healthcare/VNA & Hospice of Northern Berkshire | 535 Curran Memorial Highway | North Adams | MA | 01247 | 1.5 | 45 |
| Northern Counties Health Care | 165 Sherman Drive | St. Johnsbury | VT | 05819 | 1.5 | 3 |
| Northern Maine Medical Center - 194 East Main Street | 194 East Main St | Fort Kent | ME | 04743 | 25 | 1000 |
| Northern Maine Medical Center - Acadia Family Health Center | 460 Main Street, Suite 4 | Madawaska | ME | 04756 | 10 | 1000 |
| Northern Maine Medical Center - Forest Hill | 25 Bolduc Ave | Fort Kent | ME | 04743 | 20 | 1000 |
| Northern Maine Medical Center - Long Lake Regional Health Center | 384 Main Street | St. Agatha | ME | 04772 | 1.5 | 5 |
| Northern Maine Medical Center - Madawaska Outpatient Center | 309 St. Thomas Street | Madawaska | ME | 04756 | 10 | 1000 |
| Northern Maine Medical Center - Riverside Office Building | 3 Mountainview Drive | Fort Kent | ME | 04743 | 10 | 1000 |
| Northern Maine Medical Center - Wellness Center | 17 West Main St | Fort Kent | ME | 04743 | 1.5 | 10 |
| Northwestern Counseling & Support Services | 107 Fisher Pond Road | Saint Albans | VT | 05478 | 1.5 | 4.5 |
| Northwestern Medical Center/Georgia | 927 Ethan Allen Highway | Georgia | VT | 05468 | 1.5 | 4.5 |
| Northwestern Medical Center/St. Albans | 133 Fairfield Street | St. Albans | VT | 05478 | 25 | 100 |
| Otis Health Care Center | 185 Grafton Road | Townshend | VT | 05353 | 10 | 100 |
| Penobscot Bay Medical Center | 6 Glen Cove Drive | Rockport | ME | 04856 | 100 | 1000 |
| Penobscot Bay Medical Center/Central Data Center | 409 Old County Road | Rockland | ME | 04841 | 500 | 1000 |
| Penobscot Bay Medical Center/Kno-Wal-Lin Home Health Care Belfast | 147 Waldo Avenue, Suite 106 | Belfast | ME | 04915 | 25 | 100 |
| Penobscot Bay Medical Center/Kno-Wal-Lin Home Health Care Newcastle | 605 Route 1, Suite 2 | Newcastle | ME | 04553 | 25 | 100 |
| Penobscot Bay Medical Center/Kno-Wal-Lin Home Health Care Rockland | 170 Pleasant Street | Rockland | ME | 04841 | 100 | 110 |
| Penobscot Bay Medical Center/Knox Long Term Care Center | 6 White Street | Rockland | ME | 04841 | 100 | 110 |
| Penobscot Bay Medical Center/Quarry Hill | 30 Community Drive | Camden | ME | 04843 | 100 | 110 |
| Penobscot Bay Medical Center/Waldoboro Family Medicine | 27 Mill Street | Waldoboro | ME | 04572 | 1.5 | 100 |
| Penobscot Community Health Care - Brewer Community Clinic | 451 South Main Street | Brewer | ME | 04412 | 25 | 100 |
| Penobscot Community Health Care - Community Clinics | 34 Summer Street | Bangor | ME | 04401 | 25 | 100 |
| Site Name | Address | City | State | Zip | Min BW | Opt BW |
| Penobscot Community Health Care - Hampden Physical Therapy | 177 Coldbrook Road | Hampden | ME | 04444 | 25 | 100 |
| Penobscot Community Health Care - Main Campus | 1048 Union Street | Bangor | ME | 04401 | 25 | 100 |
| Penobscot Community Health Care - Old Town Family Practice | 242 Brunswick Street | Old Town | ME | 04468 | 25 | 100 |
| Penobscot Community Health Care - Stillwater Fam Med | 78 Ridgewood Drive | Bangor | ME | 04401 | 25 | 100 |
| Penobscot Valley Hospital - 7 Transalpine Road | 7 Transalpine Road | Lincoln | ME | 04457 | 200 | 1000 |
| Penobscot Valley Hospital Wellness Center | 27 Main Street | Lincoln | ME | 04457 | 200 | 1000 |
| Penquis - Rockland | 170 Pleasant Street | Rockland | ME | 04841 | 1.5 | 10 |
| Penquis Health Services - Bangor | 262 Harlow Street | Bangor | ME | 04401 | 10 | 100 |
| Penquis Health Services - Dexter | 110 Spring Street | Dexter | ME | 04930 | 1.5 | 4.5 |
| Penquis Health Services - Dover | 50 North Street | Dover-Foxcroft | ME | 04426 | 1.5 | 10 |
| Penquis Health Services - Lincoln | 115 Main Street | Lincoln | ME | 04457 | 1.5 | 10 |
| Porter Hospital | 115 Porter Drive | Middlebury | VT | 05753 | 50 | 100 |
| Porter Hospital/Addison Family Medicine | 82 Catamount Park | Middlebury | VT | 05753 | 4.5 | 6 |
| Porter Hospital/Little City Family Medicine | 10 North Street | Vergennes | VT | 05491 | 1.5 | 4.5 |
| Porter Hospital/Middlebury Pediatrics & Family Medicine | 1330 Exchange Street | Middlebury | VT | 05753 | 1.5 | 4.5 |
| Porter Hospital/Neshobe Family Medicine | 61 Court Drive | Brandon | VT | 05733 | 1.5 | 4.5 |
| Redington-Fairview General Hospital/46 Fairview Avenue | 46 Fairview Ave | Skowhegan | ME | 04976 | 20 | 40 |
| Redington-Fairview General Hospital/Norridgewock Health Center | 8 Colonial Lane | Norridgewock | ME | 04957 | 5 | 10 |
| Regional Medical Center of Lubec/Healthways - East Machias | 879 Main Street | East Machias | ME | 04630 | 10 | 30 |
| Regional Medical Center of Lubec/Healthways - Lubec | 43 South Lubec Road | Lubec | ME | 04652 | 10 | 30 |
| Regional Medical Center of Lubec/Healthways - Machias | 11 Broadway | Machias | ME | 04654 | 10 | 30 |
| Richford Health Center (dba NOTCH) | 44 Main Street, Suite 200 | Richford | VT | 05476 | 6.122 | 7.666 |
| Richford Health Center (dba NOTCH)/Alburg Health Center | 8 Industrial Park Road | Alburgh | VT | 05440 | 1.5 | 3 |
| Richford Health Center (dba NOTCH)/Enosburg Health Center | 44 Center Street | Enosburg Falls | VT | 05450 | 1.5 | 3 |
| Richford Health Center (dba NOTCH)/NOTCH Dental Clinic at MVU | 100 Thunderbird Drive BLDG # Dental | Swanton | VT | 05488 | 1.5 | 3 |
| Richford Health Center (dba NOTCH)/St. Albans Health Center | 48 Lower Newton Road | St. Albans | VT | 05478 | 1.5 | 3 |
| Richford Health Center (dba NOTCH)/Swanton Health Center | 45 Church Street | Swanton | VT | 05488 | 1.5 | 3 |
| Site Name | Address | City | State | Zip | Min BW | Opt BW |
| Rutland Mental Health Services | 78 S. Main Street | Rutland | VT | 05701 | 6 | 100 |
| Rutland Mental Health Services/Court Square Location | 7 Court Square | Rutland | VT | 05701 | 45 | 100 |
| Rutland Mental Health Services/Evergreen Center | 135 Granger Street | Rutland | VT | 05701 | 30 | 100 |
| Rutland Mental Health Services/Merchants Row Location | 10 Merchants Row | Rutland | VT | 05701 | 1.5 | 3 |
| Rutland Mental Health Services/Pine Street Location | 30 Pine Street | Rutland | VT | 05701 | 1.5 | 3 |
| Rutland Mental Health Services/Success School | 1 Scale Ave, Building 18 | Rutland | VT | 05701 | 1.5 | 3 |
| Rutland Regional Health System/Killington Medical Clinic | 3902 Killington Road | Killington | VT | 05751 | 1.5 | 20 |
| Rutland Regional Health System/Rutland Regional Medical Center | 160 Allen Street | Rutland | VT | 05701 | 100 | 1000 |
| Rutland Regional Health System/West Street | 439 West Street | Rutland | VT | 05701 | 4.5 | 1000 |
| Sacopee Valley Health Center | 70 Main Street | Porter | ME | 04068 | 7 | 15 |
| Sebasticook Family Doctors - Canaan | 333 Main Street | Canaan | ME | 04924 | 3 | 10 |
| Sebasticook Family Doctors - Dexter | 29 Church Street | Dexter | ME | 04930 | 3 | 10 |
| Sebasticook Family Doctors - Dover-Foxcroft | 1008 West Main Street | Dover-Foxcroft | ME | 04426 | 3 | 10 |
| Sebasticook Family Doctors - Newport | 118 Moosehead Trail, Suite 5 | Newport | ME | 04953 | 3 | 10 |
| Sebasticook Family Doctors - Pittsfield | 140 Chandler Street | Pittsfield | ME | 04967 | 3 | 10 |
| Southern Maine Medical Center/1 Medical Center Drive | 1 Medical Center Drive | Biddeford | ME | 04005 | 100 | 1000 |
| Southern Maine Medical Center/Kennebunk Diagnostic and Therapy Center | 4 Shape Drive | Kennebunk | ME | 04043 | 1.5 | 4.5 |
| Southern Maine Medical Center/Primecare Physician Practice | 9 Healthcare Drive | Biddeford | ME | 04005 | 6 | 25 |
| Southern Maine Medical Center/Saco Diagnostic and Therapy Center | 13 Industrial Park Road | Saco | ME | 04072 | 1.5 | 4.5 |
| Southwestern Vermont Health Care | 100 Hospital Drive East | Bennington | VT | 05201 | 30 | 100 |
| Speare Memorial Hospital | 16 Hospital Road | Plymouth | NH | 03264 | 50 | 100 |
| Speare Memorial Hospital/Boulder Point | 103 Boulder Point Way | Plymouth | NH | 03264 | 10 | 50 |
| Springfield Hospital | 25 Ridgewood Road | Springfield | VT | 05156 | 6 | 10 |
| Springfield Hospital/The Health Center at Bellows Falls | 1 Hospital Court | Bellows Falls | VT | 05101 | 3 | 10 |
| Springfield Hospital/The Ludlow Health Center | 1 Elm Street | Ludlow | VT | 05149 | 3 | 10 |
| St. Joseph Hospital | 172 Kinsley St. | Nashua | NH | 03061 | 100 | 1000 |
| St. Croix Regional Family Health Center/East Grand Health Center | 201 Houlton Road | Danforth | ME | 04424 | 3 | 10 |
| Site Name | Address | City | State | Zip | Min BW | Opt BW |
| St. Croix Regional Family Health Clinic - Princeton | 136 Mill Street | Princeton | ME | 04668 | 3 | 10 |
| St. Joseph Healthcare/Gastroenterology Associates of Eastern Maine | 700 Mount Hope Avenue, Suite 210 | Bangor | ME | 04401 | 1.5 | 4.5 |
| St. Joseph Healthcare/St. Joseph Healthcare Park | 900 Broadway | Bangor | ME | 04401 | 100 | 1000 |
| St. Joseph Healthcare/St. Joseph Hospital | 360 Broadway | Bangor | ME | 04401 | 100 | 1000 |
| The Health Center | 157 Towne Avenue | Plainfield | VT | 05667 | 10 | 25 |
| The Health Center/Cabot Health Services | 25 Common Road | Cabot | VT | 05647 | 1.5 | 4.5 |
| The Memorial Hospital | 3073 White Mt. Highway | North Conway | NH | 03860 | 5 | 10 |
| The Memorial Hospital/Carroll County Home and Health | 23 White Mt. Highway | Conway | NH | 03817 | 5 | 10 |
| The Memorial Hospital/White Mountain Community Health | 298 White Mt. Highway | Conway | NH | 03818 | 5 | 10 |
| Togus Veterans Affairs Medical Center | 1 VA Center | Augusta | ME | 04330 | 1.5 | 4.5 |
| UNH College of Health and Human Services | Suite 202, Hewitt Hall, 4 Library Way | Durham | NH | 03824 | 1.5 | 4.5 |
| United Counseling Service | 100 Ledge Hill Road | Bennington | VT | 05201 | 20 | 25 |
| University of New England/Biddeford Campus | 11 Hills Beach Road | Biddeford | ME | 04005 | 500 | 1000 |
| University of New England/Saco Family Practice | 655 Main Street | Saco | ME | 04072 | 10 | 100 |
| University of New England/University Health Care - Portland | 295 Forest Ave | Portland | ME | 04101 | 5 | 10 |
| University of New England/Westbrook College Campus College of Health Professions | 716 Stevens Ave | Portland | ME | 04103 | 500 | 1000 |
| University of Vermont | Southwick Hall/85. S. Prospect St. | Burlington | VT | 05405 | 1.5 | 4.5 |
| Valley Regional Hospital | 243 Elm St. | Claremont | NH | 03743 | 15 | 20 |
| Vermont Agency of Human Services/Vermont State Hospital | 103 South Main Street | Waterbury | VT | 05671 | 4.5 | 6 |
| Vermont Department of Corrections/Chittenden Regional Correctional Facility | 7 Farrell Street | South Burlington | VT | 05403 | 4.5 | 6 |
| Vermont Department of Corrections/Dale Correctional Facility | 103 South Main Street, South Entrance | Waterbury | VT | 05671 | 1.5 | 4.5 |
| Vermont Department of Corrections/Marble Valley Regional Correctional Facility | 167 State Street | Rutland | VT | 05701 | 1.5 | 4.5 |
| Vermont Department of Corrections/Northeast Regional Correctional Facility | 1270 U.S. Route 5 | St. Johnsbury | VT | 05819 | 4.5 | 6 |
| Vermont Department of Corrections/Northern State Correctional Facility | 2559 Glen Road | Newport | VT | 05855 | 4.5 | 6 |
| Vermont Department of Corrections/Northwest State Correctional Facility | 3649 Lower Newton Road | Swanton | VT | 05488 | 4.5 | 6 |
| Vermont Department of Corrections/Southeast State Correctional Facility | 546 State Farm Road | Windsor | VT | 05089 | 1.5 | 4.5 |
| Vermont Department of Corrections/Southern State Correctional Facility | 700 Charleston Road | Springfield | VT | 05156 | 4.5 | 6 |
| Site Name | Address | City | State | Zip | Min BW | Opt BW |
| Vermont Information Technology Leaders | 144 Main Street, Suite 1 | Montpelier | VT | 05602 | 20 | 100 |
| Vermont Information Technology Leaders/VITL Backup Site | 102 Kimball Avenue | Williston | VT | 05401 | 6 | 25 |
| Vermont Information Technology Leaders/VITL Data Center | 40 IDX Drive | South Burlington | VT | 05401 | 6 | 25 |
| Vermont Radiologists | 620 Hinesburg Road #1A | South Burlington | VT | 05403 | 10 | 20 |
| Waldo County General Hospital/Arthur Jewel Community Health Center | 55 Reynolds Road | Brooks | ME | 04921 | 10 | 50 |
| Waldo County General Hospital/Belfast | 118 Northport Ave | Belfast | ME | 04915 | 200 | 500 |
| Waldo County General Hospital/Donald S. Walker Health Center | 43 West Main Street | Liberty | ME | 04949 | 10 | 50 |
| Waldo County General Hospital/Lincolnville Health Center | 2399 Atlantic Hwy | Lincolnville | ME | 04849 | 10 | 50 |
| Waldo County General Hospital/Searsport Regional Health Center | 37 Mortland Road | Searsport | ME | 04974 | 10 | 50 |
| Waldo County General Hospital/Stockton Springs Regional Health Center | 11 Cape Jellison Road | Stockton Springs | ME | 04981 | 10 | 50 |
| Washington County Mental Health Services | 174 Hospital Loop | Berlin | VT | 05602 | 1.5 | 4.5 |
| Wentworth-Douglass Hospital - Dover | 789 Central Ave | Dover | NH | 03820 | 8 | 14 |
| Wentworth-Douglass Hospital - Lee | 54 Calef Road, Route 125 | Lee | NH | 03824 | 8 | 14 |
| White River Junction VA Medical Center | 215 North Main Street | White River Junction | VT | 05009 | 1.5 | 4.5 |
| York County Community Action Corporation/York County Community Health Care | 32 Patriot Lane | Sanford | ME | 04073 | 10 | 25 |
| York Hospital/15 Hospital Drive | 15 Hospital Drive | York | ME | 03909 | 10 | 100 |
| York Hospital/Berwick Medical Services | 4 Dana Drive | Berwick | ME | 03901 | 5 | 10 |
| York Hospital/Kittery Family Practice | 22 Shapleigh Road | Kittery | ME | 03904 | 5 | 10 |
| York Hospital/Landmark Hill, Wende Pediatrics | 518 US Route1 | Kittery | ME | 03904 | 3 | 10 |
| York Hospital/Oncology Treatment Center | 127 Long Sands Road | York | ME | 03909 | 4.5 | 100 |
| York Hospital/Services at Kittery | 75 US Route1 Bypass | Kittery | ME | 03904 | 3 | 10 |
| York Hospital/South Berwick Medical Services | 57 Portland Street | South Berwick | ME | 03908 | 5 | 10 |
| York Hospital/Wells Regional Medical Services | 114 Sanford Road | Wells | ME | 04090 | 6 | 1000 |

Glossary

- 3G/EVDO – Third Generation/Evolution Data Only- this is a high speed data service provided by cellular carriers.

- Aggregation - joining multiple data packets for transmission as a single unit to increase network efficiency

- Backbone - or network backbone is a part of computer network infrastructure that interconnects various pieces of network, providing a path for the exchange of information between different LANs or sub networks.[1] A backbone can tie together diverse networks in the same building, in different buildings in a campus environment, or over wide areas. Normally, the backbone's capacity is greater than the networks connected to it.  A large corporation that has many locations may have a backbone network that ties all of the locations together, for example, if a server cluster needs to be accessed by different departments of a company that are located at different geographical locations. The pieces of the network connections (for example: ethernet, wireless) that bring these departments together is often mentioned as network backbone. Network congestion is often taken into consideration while designing backbones.  Backbone networks should not be confused with the Internet backbone.

- BaseT Interfaces - one of several physical media specified in the IEEE 802.3 standard for Ethernet local area networks (LANs), is ordinary telephone twisted pair wire. 10BASE-T supports Ethernet's 10 Mbps transmission speed. In addition to 10BASE-T, 10 megabit Ethernet can be implemented with these media types:

  - 10BASE-2 (Thinwire coaxial cable with a maximum segment length of 185 meters)

  - 10BASE-5 (Thickwire coaxial cable with a maximum segment length of 500 meters)

  - 10BASE-F (optical fiber cable)

  - 10BASE-36 (broadband coaxial cable carrying multiple baseband channels for a maximum length of 3,600 meters)

- BGP Peering - is the term used for connections between BGP speakers. Technically, any two routers running BGP which have different AS numbers are peering. However, in the Telecommunications and Internet provider arena, the term 'peering' has taken on a politically-loaded meaning that is unrelated to the technical process and more related to the politics of which ISP is paying whom for the connection.

- Bridge Control Protocol – a common method to carry Ethernet/802.3 and 802.4/802.5/FDDI frames on PPP.

- Commercial Peering Service (CPS) - is a separate Layer-3 IP routing service provided over the Internet2 IP Backbone.    The Commercial Peering Service provides Internet2 Connectors with connectivity to commercial networks, such as Content Providers and ISPs, through the establishment of Settlement-Free Interconnects between these networks and Internet2's Commercial Peering Service.

- Commodity Internet – (aka. The Internet) - a global system of interconnected computer networks that use the standard Internet Protocol Suite (TCP/IP) to serve billions of users worldwide. It is a network of networks that consists of millions of private, public, academic, business, and government networks of local to global scope that are

- Communities of Interest -  a community or group of NETC sites that will exchange information over a private tunnel within the NETC network.

- Core nodes – The central switching and routing equipment that carriers connect to that is the basis of a network.

- Differentiated Services Code Point (DSCP) - is a field in an IP packet that enables different levels of service to be assigned to network traffic. This is achieved by marking each packet on the network with a DSCP code and appropriating to it the corresponding level of service.  DSCP is the combination of IP Precedence and Type of Service fields. In order to work with legacy routers that only support IP Precedence, DSCP values are used because they are compatible with IP Precedence fields.

- Encryption - the process of transforming information (referred to as plaintext) using an algorithm (called cipher) to make it unreadable to anyone except those possessing special knowledge, usually referred to as a key. The result of the process is encrypted information (in cryptography, referred to as ciphertext). In many contexts, the word encryption also implicitly refers to the reverse process, decryption (e.g. “software for encryption” can typically also perform decryption), to make the encrypted information readable again (i.e. to make it unencrypted).

- Ethernet 802.1Q VLAN - allows a single VLAN header to be inserted into an Ethernet frame.

- Ethernet QinQ VLAN - The original 802.1Q specification allows a single VLAN header to be inserted into an Ethernet frame. QinQ allows multiple VLAN headers to be inserted into a single frame, an essential capability for implementing Metro Ethernet network topologies.

- Generic Route Encapsulation (GRE) - is a tunneling protocol that can encapsulate a wide variety of network layer protocol packet types inside IP tunnels, creating a virtual point-to-point link to various brands of routers at remote points over an Internet Protocol (IP) internetwork.

- Interface - is a point of interaction between two systems or work groups. In the manufacturing environment, the interaction and coordination between a number of work groups communicate plans and control production activity. This interaction can come in the forms of schedule, human interaction, computer systems, or any other medium of communication. A physical interface is the interconnection between two items of hardware.

- Internet2 Connectivity - is an advanced networking consortium led by the research and education community.  The not-for-profit partnership includes leaders from research, academia, industry and government. In 2009, Internet2 member rolls included over 200 higher education institutions, over 40 members from industry,   over 30 research and education network and connector organizations, and over 50 affiliate members.

  - Internet2.edu operates the Internet2 Network,  a next-generation Internet Protocol and optical network that delivers production network services to meet the high-performance demands of research and education, and provides a secure network testing and research environment. In late 2007, Internet2 began operating its newest dynamic circuit network, the Internet2 DCN, an advanced technology that allows user-based allocation of high-capacity data circuits over the fiber-optic network.

  - The Internet2 Network, through its regional network and connector members, connects over 60,000 U.S. educational, research, government and "community anchor" institutions, from primary and secondary schools to community colleges and universities, public libraries and museums to healthcare organizations.

  - The Internet2 community is actively engaged in developing and deploying emerging network technologies beyond the scope of single institutions and critical to the future of the Internet. These technologies include large-scale network performance measurement and management tools,  simple and secure identity and access management tools  and advanced capabilities such as the on-demand creation and scheduling of high-bandwidth, high-performance circuits.

  - Internet2 is member led and member focused, with an open governance structure and process.  Members serve on several advisory councils, collaborate in a variety of working groups and special interest groups  gather at spring and fall member meetings, and are encouraged to participate in the strategic planning process.

- Interior Gateway Protocol (IGP) - is a routing protocol that is used within an autonomous system (AS).  In contrast an Exterior Gateway Protocol (EGP) is for determining network reachability between autonomous systems and makes use of IGPs to resolve routes within an AS.  The interior gateway protocols can be divided into two categories: 1) Distance-vector routing protocol and 2) Link-state routing protocol.

- IP VPN - encapsulates data transfers between two or more networked devices not on the same private network so as to keep the transferred data private from other devices on one or more intervening local or wide area networks. There are many different classifications, implementations, and uses for VPNs.

- IPv4 – or TCP/IP, the current version of the Internet Protocol, which is the fundamental protocol on which the Internet is based.

- IPv6 – The new Internet Protocol designed to enhance or replace IPv4 by offering a larger number of IP addresses.

- Layer 1 and 2 – First two layers of the OSI model.  Layer 1 is physical layer and Layer 2 is the Data Link layer.

- Layer 1 through Layer 7 – Layers of the OSI Model.

- Metro Ethernet - is a computer network that covers a metropolitan area and that is based on the Ethernet standard. It is commonly used as a metropolitan access network to connect subscribers and businesses to a larger service network or the Internet. Businesses can also use Metro Ethernet to connect branch offices to their Intranet.

- MPLS - is a highly scalable, protocol agnostic, data-carrying mechanism. In an MPLS network, data packets are assigned labels. Packet-forwarding decisions are made solely on the contents of this label, without the need to examine the packet itself. This allows one to create end-to-end circuits across any type of transport medium, using any protocol. The primary benefit is to eliminate dependence on a particular Data Link Layer technology, such as ATM, frame relay, SONET or Ethernet, and eliminate the need for multiple Layer 2 networks to satisfy different types of traffic. MPLS belongs to the family of packet-switched networks.

- MPLS L3 VPN - also known as L3VPN, combines enhanced BGP signaling, MPLS traffic isolation and router support for VRFs (Virtual Routing/Forwarding) to create an IP based VPN. Compared to other types of VPN such as IPSec VPN or ATM, MPLS L3VPN is more cost efficient and can provide more services to customers.

- Multilink PPP Bonding - creates a bonded or aggregated connection consisting of two independent DSL lines.

- Northern Crossroads (NOX) - is an informal affiliation of approximately two dozen institutions with a common interest in facilitating advanced networking in New England. Participants include institutions of higher education and partner organizations that support research, education, and economic development. The goals of the NoX are to:

  - Foster advanced networking in support of research and education in New England;

  - Share intellectual capital and material resources to further the development and delivery of advanced network services and applications to our communities;

  - Aggregate services to benefit from economies of scale;

  - Encourage collaboration among participating institutions and our respective academic communities;

  - Consolidate regional representation of our interests to the larger national and international community, and;

  - Collaborate with other organizations pursuing advanced networking.

- OSI (Open Systems Interconnection) – A reference model developed by the ISO (International Organization for Standardization).  The OSI Reference Model is the only internationally accepted framework of standards for communication between different systems made by different vendors.  The OSI model organizes the communications process into seven different categories and places these categories in a layered sequence based on their relation to the user.  (See Layer 1-7).

- Packets - a formatted block of data carried by a packet mode computer network.

- PIM - is a family of multicast routing protocols for Internet Protocol (IP) networks that provide one-to-many and many-to-many distribution of data over a LAN, WAN or the Internet. It is termed protocol-independent because PIM does not include its own topology discovery mechanism, but instead uses routing information supplied by other traditional routing protocols such as the Border Gateway Protocol (BGP).

- Postalize - to structure rates or prices so that they are not distance sensitive

- PPP (Point to Point Protocol) Encapsulation - A method for encapsulating multi-protocol datagrams. The PPP encapsulation provides for multiplexing of different network-layer protocols simultaneously over the same link.

- Pseudowire/VPLS - is an emulation of a layer 2 point-to-point connection-oriented service over a packet-switching network (PSN).

- Public Key Infrastructure (digital certificate) - is a set of hardware, software, people, policies, and procedures needed to create, manage, distribute, use, store, and revoke digital certificates [1]. In cryptography, a PKI is an arrangement that binds public keys with respective user identities by means of a certificate authority (CA). The user identity must be unique within each CA domain. The binding is established through the registration and issuance process, which, depending on the level of assurance the binding has, may be carried out by software at a CA, or under human supervision. The PKI role that assures this binding is called the Registration Authority (RA) . For each user, the user identity, the public key, their binding, validity conditions and other attributes are made unforgeable in public key certificates issued by the CA.

- RADIUS - is a networking protocol that provides centralized Authentication, Authorization, and Accounting (AAA) management for computers to connect and use a network service. RADIUS was developed by Livingston Enterprises, Inc., in 1991 as an access server authentication and accounting protocol and later brought into the IETF standards.

- Radius or TACACS - is a remote authentication protocol that is used to communicate with an authentication server commonly used in UNIX networks. TACACS allows a remote access server to communicate with an authentication server in order to determine if the user has access to the network.

- Redundancy - is the duplication of critical components of a system with the intention of increasing reliability of the system, usually in the case of a backup or fail-safe.

- RFC 2547 - The Internet Engineering Task Force Request for Comment #2547 describes a method by which a Service Provider may use an IP backbone to provide IP VPNs (Virtual Private Networks) for its customers.  The full RFC text can be found at http://tools.ietf.org/html/draft-ietf-l3vpn-rfc2547bis-03.

- Secure Shell (SSH) Protocol - is a protocol that can be used for many applications across many platforms including UNIX, Microsoft Windows, Apple Mac and Linux. Some of the applications below may require features that are only available or compatible with specific SSH clients or servers. For example, using the SSH protocol to implement a VPN is possible, but presently only with the OpenSSH server and client implementation.

- SLA (Service Level Agreement) – An agreement between a user and a service provider, defining the nature of the service provided and establishing a set of metrics to be used to measure the level of service provided measured against the agreed level of service.

- T-1 – a full duplex TDM-based network service that provides 1.536 Mb of throughput.

- TCP/IP based cloud - is Internet-based computing, whereby shared resources, software and information are provided to computers and other devices on-demand, like the electricity grid.

- ToS (Terms of Service) - are rules by which one must agree to abide by in order to use a service. Usually, such terms are legally bindingTunneling – Temporarily changing the destination of a packet in order to traverse one or more routers that are incapable of routing to the real destination.

- Upstream Internet and Internet2 providers – providers to which a Network connects.

- Virtual LAN (VLAN) – essentially a private closed network within a larger network.  VLANs allow for networks based on parameters beyond network address.  Devices on a VLAN behave as though they are on the same wire, even though they are physically located on different network segments.

- WAN – (Wide Area Network) - is a computer network that covers a broad area (i.e., any network whose communications links cross metropolitan, regional, or national boundaries [1]). This is in contrast with personal area networks (PANs), local area networks (LANs), campus area networks (CANs), or metropolitan area networks (MANs) which are usually limited to a room, building, campus or specific metropolitan area (e.g., a city) respectively.

- Weighted Random Early Discard - also known as random early discard or random early drop is an active queue management algorithm. It is also a congestion avoidance algorithm.